# MARB023 Maintain marina infrastructure

Release: 1

MARB023 Maintain marina infrastructure

# Modification History

Release 1. This is the first release of this unit of competency in the MAR Maritime Training Package Release 3.0.

# Application

This unit involves the skills and knowledge required to develop and implement an infrastructure maintenance plan, which includes site, plant and equipment.

This unit applies to individuals working in a marina and undertaking routine maintenance in a marina.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

B – Equipment Checking and Maintenance

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for maintenance | 1.1 | Marina infrastructure that requires regular maintenance is recognised and confirmed with relevant personnel, if required |
|  |  | 1.2 | Potential risks, hazards and environmental issues are identified and control measures are established |
|  |  | 1.3 | Appropriate tools and equipment required to undertake maintenance activities are identified and assembled |
|  |  | 1.4 | In preparation for fire/accident/emergency, relevant emergency procedures are obtained and interpreted |
|  |  | 1.5 | Skills and experience of marina personnel required to carry out maintenance are established and duties are allocated |
|  |  | 1.6 | Maintenance schedule is obtained and interpreted |
| 2 | Undertake maintenance | 2.1 | Personal protective clothing and/or equipment is identified, used and maintained according to workplace procedures |
|  |  | 2.2 | Firefighting equipment is located, selected and made ready according to workplace procedures |
|  |  | 2.3 | Work area is prepared according to workplace policies and procedures |
|  |  | 2.4 | Relevant plant, tools and equipment are prepared and made ready for use |
|  |  | 2.5 | Maintenance is carried out safely according to workplace policies and procedures |
|  |  | 2.6 | Safe work practices and environmental requirements are followed |
|  |  | 2.7 | Work is checked against job requirements and presented to relevant personnel for verification |
| 3 | Complete maintenance and clean-up work area | 3.1 | Work area is cleaned and tools and equipment are stored according to workplace procedures |
|  |  | 3.2 | Defective or malfunctioning plant, tools, equipment and systems are reported according to workplace procedures |
|  |  | 3.3 | Maintenance schedule is reviewed and revised if necessary |
|  |  | 3.4 | All required documentation is completed according to workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Infrastructure requiring regular maintenance includes: | equipment including: marina trolley straddle carrier fendering (fender strip) gangways and ramps pontoons piles rollers and rubbing blocks on pile guides service pedestals, power/water |

# Unit Mapping Information

No equivalent unit.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=772efb7b-4cce-47fe-9bbd-ee3b1d1eb4c2