# Assessment Requirements for MARC010 Operate electrical systems

Release: 2

Assessment Requirements for MARC010 Operate electrical systems

# Modification History

Release 2. Performance Evidence and Knowledge Evidence amended to include correct information.

Release 1. New unit of competency.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

adjusting electrical supply to accommodate load demand

connecting and disconnecting shore supply

locating, interpreting and applying manufacturer specifications for electrical systems and equipment

operating and monitoring alternating current (AC) electrical systems according to manufacturer recommendations, regulations and vessel operating procedures to ensure safe operation

operating and monitoring direct current (DC) systems according to manufacturer recommendations, regulations and vessel operating procedures to ensure safe operation.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

basic care of electrical systems and equipment in general - fault recognition

batteries:

care

hazards

types

charging systems:

alarms/indicators

regulators

connecting batteries in series and parallel

DC systems not exceeding 32V DC

earth indicating devices

electric systems (above 32 V DC and up to 415 V AC)

emergency supply and regulatory requirements

fault identification, location, and safety implications

operation of starter motors, alternators and associated equipment

personal safety

protective devices on switchboards

shore power connection

single and three-phase sc power

uses of fuses and circuit breakers:

selection of correct capacity

work health and safety (WHS)/occupational health and safety (OHS) requirements and work practices.

# Assessment Conditions

Assessors must satisfy National Vocational Education and Training Regulator (NVR)/Australian Quality Training Framework (AQTF) assessor requirements.

Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Resources for assessment must include access to:

tools, equipment, machinery, materials and personal protective equipment currently used in industry

applicable documentation such as legislation, regulations, codes of practice, workplace procedures and operational manuals

range of relevant exercises, case studies and/or simulations.

# Links

MAR Maritime Training Package Companion Volume Implementation Guide at: - http://companion_volumes.vetnet.education.gov.au/Pages/TrainingPackage.aspx?pid=22