# Assessment Requirements for MARC017 Operate 240 to 440 voltage alternating current electrical systems

Release: 1

Assessment Requirements for MARC017 Operate 240 to 440 voltage alternating current electrical systems

# Modification History

Release 1. New unit of competency.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

carrying out necessary calculations associated with managing electrical systems including:

battery ampere-hours and efficiency

series and parallel configuration of battery supply

adding resistors in series and parallel, and calculating current

connecting to shore power

isolating electrical circuits

maintaining records of operating and maintaining electrical systems, and any related safety incidents

monitoring and evaluating performance of electrical systems

performing switchboard operations including the monitoring of electrical supply and procedures for paralleling generators

reading and interpreting:

manufacturer instructions for the operation of electrical systems

maritime regulations, rules and instructions

recognising problems that may occur with electrical systems and taking appropriate preventative and remedial action

recognising when performance of electrical systems is unsatisfactory or outside of specified limits and taking appropriate action

starting emergency generator and supply switchboard where available

using hydrometer

using multi-meter to test for voltage and continuity.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

battery:

operation

charging circuits and hazards associated with charging batteries

types, care and hazards

characteristics of electrical systems

dangers associated with operation of shipboard electrical systems and related hazard prevention strategies

earth detection devices

electrical distribution systems including emergency arrangements

faults associated with electrical systems and appropriate preventative and remedial action, and solutions

methods for managing operation of shipboard electrical systems

motor and alternator construction

motor starter circuits

own ability and limits to rectify irregularities and faults

principles of operation of various shipboard emergency systems including fire detection system, internal communications system and emergency generator

procedures for monitoring and evaluating performance of electrical systems

relevant sections of state and territory maritime regulations, National Standard for Commercial Vessels (NSCV) and Uniform Shipping Laws (USL) Code

relevant work health and safety (WHS)/occupational health and safety (OHS) legislation and policies

safety devices fitted to switchboard and other electrical systems including fuses and circuit breakers

sequence of required action when power unit becomes overloaded

shore power arrangements

single and three phase AC power generation.

# Assessment Conditions

Assessors must satisfy National Vocational Education and Training Regulator (NVR)/Australian Quality Training Framework (AQTF) assessor requirements.

Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Resources for assessment must include access to:

tools, equipment, machinery, materials and personal protective equipment currently used in industry

applicable documentation such as legislation, regulations, codes of practice, workplace procedures and operational manuals

range of relevant exercises, case studies and/or simulations.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=772efb7b-4cce-47fe-9bbd-ee3b1d1eb4c2