# MARC023 Operate and maintain a boiler

Release: 1

MARC023 Operate and maintain a boiler

# Modification History

Release 1. New unit of competency.

# Application

This unit involves the skills and knowledge required to operate and perform basic maintenance on a boiler according to relevant workplace practices and codes of practice. It includes operating a boiler, monitoring performance and maintaining its operational condition during use.

This unit applies to engine workers working in the maritime industry as a Marine Engine Driver Steam.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

C – Equipment Operations

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Select and use personal protective equipment | 1.1 | Personal protective equipment (PPE) is selected for use according to statutory requirements and workplace procedures |
|  |  | 1.2 | Functions that require use of personal PPE are selected to enable function to be risk assessed |
| 2 | Carry out pre-operational safety checks | 2.1 | Boiler components are identified and operated according to organisational operating procedures |
|  |  | 2.2 | Boiler pre-operational safety checks are conducted according to statutory requirements and standard operating procedures |
|  |  | 2.3 | Maintenance requirements are identified and reported according to workplace procedures |
| 3 | Maintain health and safety standards in work area | 3.1 | Hazards and potential hazards in work area are identified according to statutory requirements and workplace procedures |
|  |  | 3.2 | Hazards are reported according to statutory requirements and workplace procedures |
|  |  | 3.3 | Prevention/control measures are selected according to organisational practice |
|  |  | 3.4 | Boiler chemicals are stored and handled according to statutory requirements, manufacturer recommendations and workplace procedures |
| 4 | Operate and monitor boiler | 4.1 | Boiler is started and brought online safely, according to statutory requirements, workplace procedures and organisational safety management systems (SMS) |
|  |  | 4.2 | Operating status of boiler is monitored according to statutory requirements, workplace procedures and organisational SMS |
|  |  | 4.3 | Boiler water quality tests are conducted according to workplace procedures and organisational SMS |
|  |  | 4.4 | Boiler water is adjusted as a result of tests, to meet manufacturer recommendations and workplace criteria |
|  |  | 4.5 | Operating log is maintained clearly and accurately, according to statutory requirements |
| 5 | Shut down boiler | 5.1 | Boiler is shut down according to statutory requirements, workplace procedures and organisational SMS |
|  |  | 5.2 | Documentation is maintained according to workplace and organisational requirements |
| 6 | Carry out routine maintenance on boiler | 6.1 | Maintenance requirements are identified and reported according to workplace requirements |
|  |  | 6.2 | Boiler is cleaned internally and externally according to statutory requirements and workplace procedures |
|  |  | 6.3 | Boiler valves and fittings are removed for maintenance according to statutory requirements and organisational SMS |
|  |  | 6.4 | Precautions for entry into confined spaces are observed according to and organisational SMS |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Personal protective equipment includes one or more of the following: | chemical resistant gloves and apron ear protection (muffs or plugs) eye protection fire-resistant clothing hard hat head protection respiratory devices thermally insulated gloves working protective gloves |
| Boiler components must include: | ash pan and damper boiler controls and safety devices lighting and visual warning systems oil burning apparatus valves |
| Pre-operational safety checks must include: | boiler water level checks of feed water supply and system combustion air supply system combustion equipment essential fittings firefighting equipment fuel supply/heat source system identifying and managing hazards and maintenance problems inspecting and locating explosion doors operation and position of boiler valves selecting PPE |
| Hazards and potential hazards include one or more of the following: | boiler low water condition chemical hazards excessive noise hot exposed steam pipe lack of machinery guards leakage of: boiler fuel gas manual handling hazards obstructions and defects in work area poor illumination of work area rubbish and combustibles in area thermal hazards |
| Chemicals include one or more of the following: | extinguishing agent’s carbon dioxide feed water additives organic foam and dry powder oxygen scavenger soda acid |
| Operating log must include: | boiler status and operation chemical treatment maintenance/repair requirements steam pressure test results time in use |
| Documentation includes one or more of the following: | boiler certificate boiler operational records and user log books emergency procedures and instructions maintenance notices, records and requests operational instructions, policies and procedures |
| Maintenance requirements include one or more of the following: | blow down valve boiler steam pressure gauge feed water stop valve flame failure detection device gauge glasses main steam stop valve safety valves water level controller |

# Unit Mapping Information

This unit replaces and is equivalent to MARC3002A Operate and maintain a boiler.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=772efb7b-4cce-47fe-9bbd-ee3b1d1eb4c2