# MARF002 Follow procedures to minimise and fight fires on board a vessel

Release: 2

MARF002 Follow procedures to minimise and fight fires on board a vessel

# Modification History

Release 2. Mapping information has been corrected.

Release 1. New unit of competency.

# Application

This unit involves the skills and knowledge required to apply defined policies and procedures when carrying out fire minimisation procedures and fighting a fire on board a vessel.

This unit applies to deck and engine workers working in the maritime industry on vessels up to 80 metres. They could be working independently or as part of a vessel crew.

This unit has links to legislative and certification requirements.

# Pre-requisite Unit

Not applicable.

# Competency Field

F – Operational Quality and Safety

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Carry out fire minimisation procedures | 1.1 | Fire hazards and risks on board vessel are identified and reported to designated personnel according to workplace procedures |
|  |  | 1.2 | Workplace procedures and work instructions for controlling fire risks are followed |
|  |  | 1.3 | Firefighting equipment is regularly checked and appropriate action is taken to ensure it is operational |
|  |  | 1.4 | Participation in fire drills and musters is undertaken to ensure readiness for fire emergencies |
| 2 | Follow instructions during response to a fire emergency | 2.1 | Location and class of fire are identified and alarm is raised and/or responded to according to workplace procedures |
|  |  | 2.2 | Appropriate protective clothing and equipment requirements are made ready |
|  |  | 2.3 | Instructions to contain the spread of fire and smoke are acted upon |
|  |  | 2.4 | Fire is attacked using appropriate method, firefighting equipment and extinguishing media/agent according to instructions |
|  |  | 2.5 | Collaboration and communication is maintained with others to support the safety and efficiency of the firefighting operation |
| 3 | Support post-fire operations | 3.1 | Fire watch is carried out as instructed to prevent further outbreak |
|  |  | 3.2 | Equipment is restored to operational condition according to workplace instructions |
|  |  | 3.3 | Assistance is provided to preserve fire scene prior to investigation, as required |
|  |  | 3.4 | Information relevant for fire incident debrief is provided |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Fire hazards and risks must include: | cargo clothing cooking oils cordage electrical arcing fuels and lubricants furnishings paints poor housekeeping poor work practices smoking spontaneous combustion |
| Firefighting equipment must include the following: | fire blankets hydrant hoses and nozzles international shore connection portable extinguishers pumps |
| Classes of fire must include: | A – Carbonaceous solids B – Flammable liquids C – Flammable gases E – Electrically energised equipment F – Cooking fats or oils |
| Protective clothing and equipment must include: | foot protection hand protection radiant heat protection |
| Extinguishing media/agent must include: | extinguishing powder foam gaseous extinguishing agents water |
| Restoring equipment must include: | cleaning servicing (as required) re-stowing |

# Unit Mapping Information

This unit replaces and is equivalent to MARF1002A Follow procedures to minimise and fight fires on board a vessel.

# Links

MAR Maritime Training Package Companion Volume Implementation Guide at: - http://companion_volumes.vetnet.education.gov.au/Pages/TrainingPackage.aspx?pid=22