# MARF008 Prevent and fight fires on board a vessel

Release: 2

MARF008 Prevent and fight fires on board a vessel

# Modification History

Release 2. ISC upgrade. KE amended to better align with the STCW and working effectively as part of a team included in KE and PE.

Release 1. New unit of competency.

# Application

This unit involves the skills and knowledge required to prevent fires and to respond effectively to any fire emergency on board a vessel.

This unit applies to deck and engine workers working in the maritime industry requiring a Certificate of Safety Training.

This unit has links to legislative and certification requirements.

# Pre-requisite Unit

Not applicable.

# Competency Field

F - Operational Quality and Safety

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Actively prevent fire | 1.1 | Fire hazards (pre-conditions for fire) on board a vessel are identified and rectified according to workplace procedures |
|  |  | 1.2 | Onboard procedures for preventing fire are accessed and implemented |
| 2 | Prepare response to fire | 2.1 | Location and class of fire is identified |
|  |  | 2.2 | Alarm is raised |
|  |  | 2.3 | Condition of firefighting equipment and systems in work area is monitored according to planned maintenance schedules |
|  |  | 2.4 | Realistic drills and musters are practised to ensure pre-incident readiness of response personnel |
|  |  | 2.5 | Appropriate protective clothing and equipment including self contained breathing apparatus (SCBA) is made ready |
|  |  | 2.6 | All available means to limit the spread of fire and smoke are employed |
|  |  | 2.7 | Appropriate pump/s and ancillary equipment are readied to support firefighting operations |
|  |  | 2.8 | Extinguishing media/agent is selected according to the class/classes of fire |
| 3 | Combat fire | 3.1 | Threats to life or health are identified within the emergency area |
|  |  | 3.2 | Activities and tactics to combat the fire are selected so that the safety of the vessel and all on board is not compromised |
|  |  | 3.3 | Fire is located and access is gained in the safest and most timely manner |
|  |  | 3.4 | Fire is attacked using the extinguishing media/agent and application techniques appropriate to the class and size of fire |
|  |  | 3.5 | SCBA is donned and used correctly while undertaking fire extinguishment and rescue |
|  |  | 3.6 | Effectiveness of combat activities and tactics is evaluated and altered as required |
|  |  | 3.7 | Communication is maintained to ensure safety and efficiency of firefighting operation |
| 4 | Complete post-fire activities | 4.1 | Fire watch is maintained to prevent further outbreak |
|  |  | 4.2 | Equipment is restored to operational condition |
|  |  | 4.3 | Fire scene is preserved prior to investigation, if appropriate |
|  |  | 4.4 | Information relating to the incident is provided as part of fire debriefing session |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Fire hazards must include: | accommodation cargo areas engine rooms electrical distribution systems fuel handling systems galleys lack of maintenance laundry poor housekeeping smoking stores areas |
| Classes of fire must include: | A Carbonaceous Solids B Flammable Liquids C Flammable Gases D Combustible Metals E Energised Electrical Equipment F Cooking Oils and Fats |
| Firefighting equipment and systems must include: | hoses fixed fitted detection and suppression systems foam applicators international ship-to-shore connection nozzles portable and semi-portable extinguishers stretchers/ropes and lines |
| Protective clothing and equipment must include: | head protection /helmet hand protection /gloves radiant heat protection /coat foot protection/ boots firefighter outfit as per current Fire Safety Systems Code (as applicable) SCBA |
| Extinguishing media/agent must include: | extinguishing powder foam gaseous extinguishing agents water |
| Firefighting activities must include: | boundary control containing the spread of fire evacuation of casualties from heated smoke filled environments extinguishment overhaul/fire watch |
| Firefighting tactics must include: | combination of attack cooling the fuels direct offensive (attack team) direction of attack exclusion of oxygen – smothering indirect defensive (fixed system) interrupting the chemical chain reaction removal of fuels - starvation |
| Restoring equipment must include: | cleaning re-stowing recharging according to Australian Standards servicing |

# Unit Mapping Information

This is a new unit. This unit is equivalent to MARF3005A Prevent and fight fires on board a vessel.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=772efb7b-4cce-47fe-9bbd-ee3b1d1eb4c2

Assessment Requirements for MARF008 Prevent and fight fires on board a vessel

# Modification History

Release 2. ISC upgrade. KE amended to better align with the STCW and working effectively as part of a team included in KE and PE.

Release 1. New unit of competency.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

applying extinguishing media to fire

applying safe working practices at all times

assisting in the setting up and use of foam making equipment

correctly donning and using self contained breathing apparatus (SCBA) while undertaking fire extinguishment and rescue in a heated smoke filled compartment

entering and moving through a compartment filled with high expansion foam with the aid of a lifeline and without breathing apparatus

extinguishing a fire with a fire blanket

logging SCBA wearers correctly on a control board

operating charged hose-lines and nozzles

operating portable firefighting extinguishers

performing after-use maintenance on SCBA

working effectively with team members when responding to a fire.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

action to be taken:

in an emergency

on board ship

alarms and signals during onboard emergencies

chemistry of fire, including the fire tetrahedron and its relationship to materials typically found on vessels

classification of fire and applicable extinguishing agents

correct use of all lifesaving appliances and firefighting appliances

different classes of fire, their characteristics and strategies and equipment needed for their extinguishment

elements of fire and explosion (the fire triangle)

extinguishing media including firefighting foams

fire and smoke detection and automatic alarm systems

firefighting tactics, techniques and procedures

flammable materials, fire hazards and spread of fire

hazards and threats to life or health during onboard firefighting operations

lifeline signals

location of firefighting appliances and emergency escape routes

maintenance of lifesaving appliances and firefighting appliances

need for constant vigilance

onboard Emergency Response Organisation and procedures

own ability and limits

portable fire extinguishers

purpose, function and location of fixed installations/systems

principles and methods of fire extinguishment

principles underlying the spread of fire

relevant Australian Standards

role and responsibility of self and team members

safe working practices

shipboard firefighting organisation

statutory requirements pertaining to lifesaving appliances and firefighting appliances

types and sources of ignition

types of fire detection, firefighting equipment and systems used on vessels, their features, principles of operation, procedures for their use and problems that can occur

ventilation procedures

vessel construction as it relates to fire prevention/protection

work health and safety (WHS)/occupational health and safety (OHS) requirements and work practices

# Assessment Conditions

Assessors must satisfy National Vocational Education and Training Regulator (NVR)/Australian Quality Training Framework (AQTF) assessor requirements.

Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Resources for assessment must include access to:

tools, equipment, machinery, materials and personal protective equipment currently used in industry

applicable documentation such as legislation, regulations, codes of practice, workplace procedures and operational manuals

range of relevant exercises, case studies and/or simulations.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=772efb7b-4cce-47fe-9bbd-ee3b1d1eb4c2