# Assessment Requirements for MARL005 Demonstrate basic knowledge of marine control systems and automation

Release: 1

Assessment Requirements for MARL005 Demonstrate basic knowledge of marine control systems and automation

# Modification History

Release 1. New unit of competency.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

accessing information and sketching diagrams to interpret and explain testing requirements related to control systems on commercial vessels

assessing own work outcomes and maintaining knowledge of current codes, standards, regulations and industry practices

explaining basic principles of marine automation and process control

identifying and interpreting numerical and graphical information, including schematic diagrams, relevant to control systems on commercial vessels

identifying and suggesting ways of rectifying faults and malfunctions in control systems on commercial vessels

identifying methods, procedures and materials needed to operate and maintain control systems on commercial vessels

imparting knowledge and ideas through verbal, written and visual means

providing accurate and reliable information

providing appropriate level of detail in responses

reading and interpreting written information related to the operation of control systems on commercial vessels.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

Australian Standards for drawing symbols/layouts for schematic diagrams

characteristics and functions of temperature, pressure and viscosity of fuel

concept of ‘fail safe’ philosophy

concepts of machinery space (UMS), and automated monitoring and control of machinery

control and monitoring of ship machinery

control loops

instrument process and control terms

mechanical and electrical sensors

pneumatic and electrical instrumentation transmitters

principles of:

process control

basic pneumatic systems and action of pneumatic instruments

basic electronic circuits

safety devices, alarms and monitoring systems

sensing and transmitting elements

tests and procedures required to meet UMS requirements

total bridge control

work health and safety (WHS)/occupational health and safety (OHS) legislation, policies and procedures.

# Assessment Conditions

Assessors must satisfy National Vocational Education and Training Regulator (NVR)/Australian Quality Training Framework (AQTF) assessor requirements.

Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Resources for assessment must include access to:

tools, equipment, machinery, materials and personal protective equipment currently used in industry

applicable documentation such as legislation, regulations, codes of practice, workplace procedures and operational manuals

range of relevant exercises, case studies and/or simulations.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=772efb7b-4cce-47fe-9bbd-ee3b1d1eb4c2