# Assessment Requirements for MARL007 Demonstrate basic knowledge of marine electrical systems

Release: 1

Assessment Requirements for MARL007 Demonstrate basic knowledge of marine electrical systems

# Modification History

Release 1. New unit of competency.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

assessing own work outcomes and maintaining knowledge of current codes, standards, regulations and industry practices

explaining basic principles of alternators, generators and control systems

identifying and interpreting numerical and graphical information in electrical diagrams and specifications for a commercial vessel

identifying and suggesting ways of rectifying electrical hazards and emergency situations on a vessel

identifying methods, procedures and materials needed for operating, maintaining and repairing basic marine electrical systems

imparting knowledge and ideas through verbal, written and visual means

providing accurate and reliable information

providing appropriate level of detail in responses

reading and interpreting written information related to electrical circuitry and components on commercial vessels

using electrical measuring and testing instruments.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

AC/DC voltage

alternators:

construction

characteristics

synchronised operation

electrical:

safe working practices

measuring and testing instruments

symbols, basic electrical diagrams/circuits

marine electrical systems:

switchboards

instrumentation

earthing

phase angle, power factor and current flow

procedures for dealing with hazards and emergencies

resistance, inductance and capacitance

switchboards and protection:

purpose

testing and maintenance

equipment removal

work health and safety (WHS)/occupational health and safety (OHS) legislation and policies.

# Assessment Conditions

Assessors must satisfy National Vocational Education and Training Regulator (NVR)/Australian Quality Training Framework (AQTF) assessor requirements.

Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Resources for assessment must include access to:

tools, equipment, machinery, materials and personal protective equipment currently used in industry

applicable documentation such as legislation, regulations, codes of practice, workplace procedures and operational manuals

range of relevant exercises, case studies and/or simulations.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=772efb7b-4cce-47fe-9bbd-ee3b1d1eb4c2