# Assessment Requirements for MARM010 Survey lifesaving appliances, fire and other safety systems

Release: 1

Assessment Requirements for MARM010 Survey lifesaving appliances, fire and other safety systems

# Modification History

Release 1. New unit of competency.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least one occasion and include:

applying relevant work health and safety/occupational health and safety (WHS/OHS) requirements and work practices communicating effectively verbally and in writing developing effective planning documents identifying variations in equipment and systems between different vessels, and when equipment and systems are changed on a vessel providing high quality reports reading and interpreting technical specifications and other graphical information related to lifesaving appliances, fire and other safety systems and consumables receiving and interpreting oral and written orders and instructions related to maintaining operational condition of lifesaving appliances, fire and other safety systems recognising faults and defects in lifesaving appliances, fire and other safety systems, and taking appropriate action to report non-compliance or maintenance requirements.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

applicable sections of the Marine Safety (Domestic Commercial Vessel) National Law importance of maintaining lifesaving appliances, fire and other safety systems and equipment, and potential consequences if systems and/or equipment are not operational during an emergency safety management system (SMS) plans, procedures, checklists and instructions (where applicable) as they relate to lifesaving appliances, fire and other safety systems and equipment lifesaving appliances and fire systems: installation maintenance use relevant legislation, regulations, codes of practice, policies and procedures related to maintaining lifesaving appliances, fire and other safety systems and equipment relevant state and territory maritime regulations statutory and organisational requirements for documenting condition and maintenance procedures and outcomes for lifesaving appliances, fire and other safety systems and equipment used on board vessels WHS/OHS legislation, policies and procedures.

# Assessment Conditions

Assessors must satisfy National Vocational Education and Training Regulator (NVR)/Australian Quality Training Framework (AQTF) assessor requirements.

Assessment must satisfy the National Vocational Education and Training Regulator (NVR)/Australian Quality Training Framework (AQTF) standards.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Assessment must occur in workplace operational situations or where these are not available, in simulated workplace operational situations or an industry-approved marine operations site that replicates workplace conditions, where lifesaving appliances, fire and other safety systems can be surveyed.

Resources for assessment include access to:

relevant documentation including workplace procedures, regulations, codes of practice and operation manuals

tools, equipment, material and personal protective equipment currently used in industry.

Performance should be demonstrated consistently over time and in a suitable range of contexts.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=772efb7b-4cce-47fe-9bbd-ee3b1d1eb4c2