# MARM010 Survey lifesaving appliances, fire and other safety systems

Release: 1

MARM010 Survey lifesaving appliances, fire and other safety systems

# Modification History

Release 1. New unit of competency.

# Application

This unit involves the skills and knowledge required to assess operational condition of lifesaving appliances, fire and other safety systems, including verifying the monitoring of systems and their components to ensure they function.

This unit applies to people working in the maritime industry as a marine surveyor assistant.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

M – Marine Surveying

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify requirements for lifesaving appliances, fire and other safety systems | 1.1 | Types of lifesaving appliances, fire and other safety systems relevant to type of vessel under survey are identified and incorporated into survey plan |
|  |  | 1.2 | Maintenance requirements for lifesaving appliances, fire and other safety systems are identified and incorporated into survey plan according to regulatory requirements |
|  |  | 1.3 | Correct type and scale of safety equipment is identified according to size, type and operational area of vessel being surveyed |
|  |  | 1.4 | Documentation requirements for safety systems for vessel size and nature are identified, accessed and confirmed against survey plan |
| 2 | Assess operational condition of lifesaving appliances, fire and other safety systems | 2.1 | Powers and responsibility for inspecting and reporting operational condition of lifesaving appliances, fire and other safety systems are identified, reviewed and applied to survey tasks |
|  |  | 2.2 | Inspection and assessment of condition of lifesaving appliances, fire and other safety systems and consumables is carried out according to regulatory and organisational requirements |
|  |  | 2.3 | Inspection and assessment of maintenance procedures for lifesaving appliances, fire and other safety systems and consumables on board a commercial vessel are carried out according to regulatory and organisational requirements |
| 3 | Review and report on documentation for lifesaving appliances, fire and other safety systems | 3.1 | Records and certificates related to routine monitoring and maintenance of condition of lifesaving appliances, fire and other safety systems and equipment is reviewed |
|  |  | 3.2 | Actions to be taken to maintain, repair or replace lifesaving appliances, fire and other safety systems are communicated to appropriate personnel according to organisational and/or regulatory requirements |
|  |  | 3.3 | Recordkeeping and reporting requirements related to condition of lifesaving appliances, fire and other safety systems are carried out according to regulatory and organisational requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Lifesaving appliances include one or more of the following: | emergency position indicating radio beacons (EPIRBs) first aid life buoys and jackets pyrotechnics search and rescue transponders (SARTs) self-contained breathing apparatus (SCBA) survival craft |
| Fire systems include one or more of the following: | air flaps CO2 dry chemical and wet foam fan shut-offs fire detection alarms foam portable fire extinguishers water |
| Regulatory requirements include one or more of the following: | National Standard for Commercial Vessels (NSCV) Marine Safety (Domestic Commercial Vessel) National Law WHS/OHS legislation, regulations and codes of practice |
| Consumables include one or more of the following: | batteries for detectors, radios, beacons, etc. dry and wet chemicals used in fire extinguishers flares survival rations |
| Maintenance procedures include one or more of the following: | identifying faults in and damage to lifesaving appliances, fire and other safety systems and equipment routine checks for operational serviceability of lifesaving appliances, fire and other safety systems and equipment |
| Records and certificates include one or more of the following: | licensed contractor certificates of inspection lifesaving appliances, fire and other safety systems and equipment operational and maintenance instructions and recommended procedures NSCV and applicable Australian and international regulatory requirements relevant maritime authority instructions for the maintenance and serviceability of shipboard lifesaving appliances, fire and other safety systems and equipment safety management system (SMS) plans, procedures, checklists and instructions vessel log books |

# Unit Mapping Information

This unit replaces and is equivalent to MARM4006A Survey lifesaving appliances, fire and other safety systems.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=772efb7b-4cce-47fe-9bbd-ee3b1d1eb4c2