# MARF3005A Prevent and fight fires on board a vessel

Release 1

MARF3005A Prevent and fight fires on board a vessel

# Modification History

Release 1

This is the first release of this unit.

This unit replaces and is equivalent to TDMMF6207A Prevent, control and fight fires on board an ocean-going vessel.

# Unit Descriptor

This unit involves the skills and knowledge required to prevent fires and to respond effectively to any fire emergency on board a vessel.

# Application of the Unit

This unit applies to deck and engine workers working in the maritime industry requiring a Certificate of Safety Training.

# Licensing/Regulatory Information

Not applicable.

# Pre-Requisites

Not applicable.

# Employability Skills Information

This unit contains employability skills.

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the required performance needed to demonstrate achievement of the element. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| 1 | Actively prevent fire | 1.1 | Fire hazards (pre-conditions for fire) on board a vessel are identified and rectified according to workplace procedures |
| --- | --- | --- | --- |
|  |  | 1.2 | Onboard procedures for preventing fire are accessed and implemented |
| 2 | Prepare response to fire | 2.1 | Location and class of fire is identified |
|  |  | 2.2 | Alarm is raised |
|  |  | 2.3 | Condition of firefighting equipment and systems in work area is monitored according to planned maintenance schedules |
|  |  | 2.4 | Realistic drills and musters are practised to ensure pre-incident readiness of response personnel |
|  |  | 2.5 | Appropriate protective clothing and equipment including self contained breathing apparatus (SCBA) is made ready |
|  |  | 2.6 | All available means to limit the spread of fire and smoke are employed |
|  |  | 2.7 | Appropriate pump/s and ancillary equipment are readied to support firefighting operations |
|  |  | 2.8 | Extinguishing media/agent is selected according to the class/classes of fire |
| 3 | Combat fire | 3.1 | Threats to life or health are identified within the emergency area |
|  |  | 3.2 | Activities and tactics to combat the fire are selected so that the safety of the vessel and all on board is not compromised |
|  |  | 3.3 | Fire is located and access is gained in the safest and most timely manner |
|  |  | 3.4 | Fire is attacked using the extinguishing media/agent and application techniques appropriate to the class and size of fire |
|  |  | 3.5 | SCBA is donned and used correctly while undertaking fire extinguishment and rescue |
|  |  | 3.6 | Effectiveness of combat activities and tactics is evaluated and altered as required |
|  |  | 3.7 | Communication is maintained to ensure safety and efficiency of firefighting operation |
| 4 | Complete post-fire activities | 4.1 | Fire watch is maintained to prevent further outbreak |
|  |  | 4.2 | Equipment is restored to operational condition |
|  |  | 4.3 | Fire scene is preserved prior to investigation, if appropriate |
|  |  | 4.4 | Information relating to the incident is provided as part of fire debriefing session |

# Required Skills and Knowledge

This section describes the skills and knowledge required for this unit.

Required Skills:

Apply extinguishing media to fire

Apply safe working practices at all times

Assist in the setting up and use of foam making equipment

Correctly don and use SCB while undertaking fire extinguishment and rescue in a heated smoke filled compartment

Enter and move through a compartment filled with high expansion foam with the aid of a lifeline and without breathing apparatus

Extinguish a fire with a fire blanket

Log SCBA wearers correctly on a control board

Operate charged hose-lines and nozzles

Operate portable firefighting extinguishers

Perform after use maintenance on SCBA

Required Knowledge:

Action to be taken: in an emergency on board ship

Alarms and signals during onboard emergencies

Chemistry of fire, including the fire tetrahedron and its relationship to materials typically found on vessels

Classification of fire and applicable extinguishing agents

Correct use of all lifesaving appliances and firefighting appliances

Different classes of fire, their characteristics and strategies and equipment needed for their extinguishment

Elements of fire and explosion (the fire triangle)

Extinguishing media including firefighting foams

Fire and smoke detection and automatic alarm systems

Firefighting tactics, techniques and procedures

Flammable materials, fire hazards and spread of fire

Hazards and threats to life or health during onboard firefighting operations

Lifeline signals

Location of firefighting appliances and emergency escape routes

Maintenance of lifesaving appliances and firefighting appliances

Need for constant vigilance

Onboard Emergency Response Organisation and procedures

Portable fire extinguishers

Principles and methods of fire extinguishment

Principles underlying the spread of fire

Relevant Australian Standards

Safe working practices

Shipboard firefighting organisation

Statutory requirements pertaining to lifesaving appliances and firefighting appliances

Types and sources of ignition

Types of fire detection, firefighting equipment and systems used on vessels, their features, principles of operation, procedures for their use and problems that can occur

Ventilation procedures

Vessel construction as it relates to fire prevention/protection

Work health and safety (WHS)/occupational health and safety (OHS) requirements and work practices

# Evidence Guide

| The evidence guide provides advice on assessment and must be read in conjunction with the performance criteria, the required skills and knowledge, the range statement and the Assessment Guidelines for the Training Package. |  |
| --- | --- |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | The evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the Elements, Performance Criteria, Required Skills, Required Knowledge and include: working as part of a team being aware of own ability and limits. |
| Context of and specific resources for assessment | Performance is demonstrated consistently over time and in a suitable range of contexts. Resources for assessment include access to: industry-approved marine operations where fighting and extinguishing fires in a simulated environment using live fire and smoke can be conducted tools, equipment and personal protective equipment currently used in industry relevant regulatory and equipment documentation that impacts on work activities range of relevant exercises, case studies and/or other simulated practical and knowledge assessments appropriate range of relevant operational situations in the workplace. In both real and simulated environments, access is required to: relevant and appropriate materials and equipment applicable documentation including workplace procedures, regulations, codes of practice and operation manuals. |
| Method of assessment | Practical assessment must occur in an: appropriately simulated workplace environment and/or appropriate range of situations in the workplace. A range of assessment methods should be used to assess practical skills and knowledge. The following examples are appropriate to this unit: direct observation of the candidate fighting and extinguishing fires direct observation of the candidate applying relevant WHS/OHS requirements and work practices. |
| Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. In all cases where practical assessment is used it should be combined with targeted questioning to assess Required Knowledge. Assessment processes and techniques must be appropriate to the language and literacy requirements of the work being performed and the capacity of the candidate. |

# Range Statement

| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. |  |
| --- | --- |
| Fire hazards must cover: | Accommodation Cargo areas Engine rooms Electrical distribution systems Fuel handling systems Galleys Lack of maintenance Laundry Poor housekeeping Smoking Stores areas |
| Classes of fire include: | A Carbonaceous Solids B Flammable Liquids C Flammable Gases D Combustible Metals E Energised Electrical Equipment F Cooking Oils and Fats |
| Firefighting equipment and systems must include: | Hoses Fixed fitted detection and suppression systems Foam applicators International ship-to-shore connection Nozzles Portable and semi-portable extinguishers Stretchers/ropes and lines |
| Protective clothing and equipment must include: | Head protection/helmet Hand protection/gloves Radiant heat protection/coat Foot protection/ boots Firefighter outfit as per current Fire Safety Systems Code (as applicable) SCBA |
| Extinguishing media/agent must include: | Extinguishing powder Foam Gaseous extinguishing agents Water |
| Firefighting activities must include: | Boundary control Containing the spread of fire Evacuation of casualties from heated smoke filled environments Extinguishment Overhaul/fire watch |
| Firefighting tactics must include: | Combination of attack Cooling the fuels Direct offensive (attack team) Direction of attack Exclusion of oxygen – smothering Indirect defensive (fixed system) Interrupting the chemical chain reaction Removal of fuels - starvation |
| Restored must include: | Cleaning Re-stowing Recharging according to Australian Standards Servicing |

# Unit Sector(s)

Not applicable.

# Competency Field

Operational Quality and Safety