# Assessment Requirements for MEA240 Use electrical test equipment to perform basic electrical tests

Release: 1

Assessment Requirements for MEA240 Use electrical test equipment to perform basic electrical tests

# Modification History

Release 1 - New unit of competency

# Performance Evidence

Evidence required to demonstrate competency in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria under the specified conditions of assessment, and must include:

applying relevant WHS practices

setting up applicable test equipment

determining test points and polarity

measuring required parameters

recording results under qualified person guidance.

The underlying skills inherent in this unit should be transferable into all areas that require the use of basic electrical test equipment. It is essential that the general aspects of electrical test equipment identification, preparation for use and safe application to a representative range of measurement and testing tasks are clearly demonstrated.

Evidence of knowledge about the preparation and use, in accordance with enterprise procedures, of the range of test equipment used for the measurement and testing tasks listed in the Range of Conditions, and of the methods used to identify applicable polarity and connection to components and circuits for required measurement or testing.

# Knowledge Evidence

Evidence required to demonstrate competency in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

the range of relevant electrical test equipment used to measure or test:

volts and amps

continuity, resistance and insulation

bonding

identification methods used to confirm test equipment is serviceable and current regarding calibration

use of selectors and scale adjustment of each item of test equipment to ensure accurate measurement of applicable parameter

methods of connection of test equipment to components being tested

methods used to determine polarity and applicable connection points for measurement or testing.

# Assessment Conditions

Competency should be assessed in the work environment or simulated work environment, using relevant electrical test equipment as specified in maintenance documentation for a given task, and in accordance with enterprise procedures under expert guidance.

The following conditions of assessment represent the requirements of the Regulators (ADF and CASA) and maintenance stakeholders and must be rigorously observed.

A person cannot be assessed as competent until it can be demonstrated to the satisfaction of the workplace assessor that the relevant elements and performance criteria of the unit of competency are being achieved under qualified person guidance on a representative range of electrical measurement and testing tasks as provided for in the Range Statement. This shall be established via the records in the Log of Industrial Experience and Achievement or, where appropriate, an equivalent Industry Evidence Guide (for details refer to the Companion Volume Assessment Guidelines).

Assessors must satisfy the requirements of the National Vocational Education and Training Regulator (Australian Skills Quality Authority, or its successors).

Where the unit is to be used for CASA licensing purposes the Assessor must also meet the criteria specified in the CASR Part 147 Manual of Standards.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=ce216c9c-04d5-4b3b-9bcf-4e81d0950371