# Assessment Requirements for MEA260 Use electrical test equipment

Release: 2

Assessment Requirements for MEA260 Use electrical test equipment

# Modification History

Release 2 - Phase angle measurement (in Assessment Conditions) now dependent on enterprise need

Release 1 - New unit of competency

# Performance Evidence

Evidence required to demonstrate competency in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria under the specified conditions of assessment, and must include:

applying relevant WHS practices

using selectors and scale adjustment of each item of test equipment to ensure accurate measurement of applicable parameter

connecting test equipment to components or circuits

determining polarity and applicable connection points for measurement or testing.

The underlying skills inherent in this unit should be transferable into all areas which require the use of electrical test equipment. It is essential that the general aspects of electrical test equipment selection, preparation for use and safe application to a representative range of measurement and testing tasks are clearly understood.

Evidence is required of knowledge about the selection and use of the range of test equipment used for the measurement and testing tasks listed in the Range of Conditions, and of the methods used to identify applicable polarity and connection to components and circuits for required measurement or testing.

# Knowledge Evidence

Evidence required to demonstrate competency in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

the range of electrical test equipment used to measure or test:

volts, amps and power

frequency

phase angle

continuity, resistance and insulation

bonding

test equipment construction and calibration, and testing for serviceability.

# Assessment Conditions

Competency should be assessed in the work environment, or simulated work environment, using electrical test equipment specified in maintenance documentation. It is also expected that applicable test equipment can be selected on the basis of general trade knowledge where specific test equipment is not specified.

The following conditions of assessment represent the requirements of the Regulators (ADF and CASA) and maintenance stakeholders and must be rigorously observed.

A person cannot be assessed as competent until it can be demonstrated to the satisfaction of the workplace assessor that the relevant elements and performance criteria of the unit of competency are being achieved under routine supervision in the selection of appropriate items of test equipment and their use to perform the measurements and test each of:

volts, amps and power

frequency

phase angle (may be omitted if not relevant to the enterprise)

continuity, resistance and insulation

bonding.

This shall be established via the records in the Log of Industrial Experience and Achievement or, where appropriate, an equivalent Industry Evidence Guide (for details refer to the Companion Volume Assessment Guidelines).

Assessors must satisfy the requirements of the National Vocational Education and Training Regulator (Australian Skills Quality Authority, or its successors).

Where the unit is to be used for CASA licensing purposes the Assessor must also meet the criteria specified in the CASR Part 147 Manual of Standards.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=ce216c9c-04d5-4b3b-9bcf-4e81d0950371