# Assessment Requirements for MEAAVI0038 Use electronic test equipment

Release: 1

Assessment Requirements for MEAAVI0038 Use electronic test equipment

# Modification History

Release 1. Application changed. Elements and Performance Criteria changed. Foundation Skills made explicit. Range of Conditions removed, and relevant information moved to Assessment Requirements. Assessment Requirements clarified. Supersedes and is equivalent to MEA261 Use electronic test equipment.

# Performance Evidence

There must be evidence the candidate has completed all the tasks outlined in the elements and performance criteria of this unit, and demonstrated the ability to:

use each of the following items of test equipment to measure electronic circuit parameters and test performance:

electronic multimeters

phase-angle voltmeters (may be omitted where not applicable to the enterprise)

oscilloscopes (dual differential, differential, delayed time base, storage)

current probes

logic and discrete component testers

electronic component substitution boxes and miscellaneous test adapters.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

the construction, calibration for use and testing for serviceability of:

electronic multimeters

phase-angle voltmeters

oscilloscopes (dual differential, differential, delayed time base and storage)

current probes

logic and discrete component testers

electronic component substitution boxes and miscellaneous test adapters

use of selectors and scale adjustment of each item of test equipment to ensure accurate measurement of applicable parameters

selection criteria for appropriate test equipment on the basis of general trade knowledge where specific test equipment is not specified

methods used to identify polarity and connection to components and circuits for required measurement or testing

high-speed oscilloscope techniques, probe calibration and safety precautions

work health and safety (WHS) requirements for the use of electronic test equipment.

# Assessment Conditions

The following conditions of assessment represent the requirements of the regulators (DASA) and (CASA) and maintenance stakeholders and must be rigorously observed.

Skills must have been demonstrated under routine supervision in the workplace or in a simulated environment that reflects workplace conditions and contingencies encountered in using test equipment. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

workplace procedures, manufacturing specifications, codes, standards, manuals, and reference materials relevant to using test equipment

electronic test equipment specified in maintenance documentation

items of test equipment appropriate for the required testing.

Evidence of tasks demonstrating competency must be recorded in a log of industrial experience and achievement.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ce216c9c-04d5-4b3b-9bcf-4e81d0950371