# MEM09205 Produce electrical schematic drawings

Release: 1

MEM09205 Produce electrical schematic drawings

# Modification History

Release 1. Supersedes and is equivalent to MEM09205A Produce electrical schematic drawings.

# Application

This unit of competency defines the skills and knowledge required to produce electrical schematic drawings complying with Australian and international standards and is primarily for those working within a drafting work environment with engineering or manufacturing applications.

Critical dimensions and specifications for the drawing are predetermined and drawings are produced under supervision. Drawings may be carried out with or without the use of computer-aided design (CAD) systems, and show the physical arrangement of components, electrical circuits and connections between devices, using appropriate symbols. A matching reference list of circuit components is also produced.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

MEM09204 Produce basic engineering detail drawings

MEM09229 Read and interpret technical engineering drawings

# Competency Field

Drawing, drafting and design

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Determine job requirements | 1.1 Follow standard operating procedures (SOPs) 1.2 Comply with work health and safety (WHS) requirements at all times 1.3 Identify job requirements from available information and identify and address further information needs 1.4 Determine purpose, scope and information requirements for drawing 1.5 Identify and prepare equipment required to complete work |
| 2. Identify system requirements | 2.1 Identify and apply codes, standards and symbols used for electrical diagrams and drawings 2.2 Identify function and purpose of circuit and its components and assemblies 2.3 Identify environmental implications of inefficient systems and strategies for minimising impact |
| 3. Prepare electrical drawings and diagrams | 3.1 Lay out drawing in accordance with the sketches and specifications 3.2 Prepare an electrical block diagram in accordance with Australian Standards 3.3 Draw cable run and multi-storey riser diagrams from schedules 3.4 Produce switchboard layout drawings 3.5 Prepare single line and interconnecting electrical diagrams in accordance with Australian Standards 3.6 Prepare wiring and circuit diagrams in accordance with Australian Standards |
| 4. Prepare materials list | 4.1 Select components and materials from supplier catalogues using predetermined specifications 4.2 Produce a parts list in accordance with SOPs 4.3 Store drawings and materials list in accordance with SOPs |
| 5. Consult with other disciplines | 5.1 Verify the parameters of the brief and clarify specifications with appropriate personnel 5.2 Identify and consult with support services 5.3 Present and explain drawings at appropriate stages of the project |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Available information includes one or more of the following: | construction documents building and coordination information work specifications information for plant services equipment industry codes, standards and regulations catalogues and manuals design brief. |
| Types of electrical drawings or diagrams include one or more of the following: | block single line interconnecting Plus one or more of the following: wiring circuit telephonic and telegraphic diagrams cable form diagrams notations. |
| Components and assemblies include one or more of the following: | resistors: fixed (composition and wire wound), variable (rheostats, potentiometers and trimmers), and non-linear (thermistors) capacitors: fixed (ceramic, plastic and electrolytic), variable, magnetic, transformers, chokes, relays, contactors, rectifiers, smoothing filters, voltage regulators and feedback. |
| Electrical layouts include one or more of the following: | domestic lighting domestic power commercial lighting schedule power schedule factory electrification flame proofing buzz bar systems 3 phase 240 volt 415 volt. |
| Cable runs include one or more of the following: | racking schedules. |
| Switchboards include one or more of the following: | layouts wiring schedules. |
| Other disciplines include one or more of the following: | appropriate personnel: designer engineer supervisor contractor/consultant builder support services: estimating department and personnel engineering department and personnel drafting department and personnel project manager factory manager or staff stakeholders: team members cross-function support groups experts appropriate licensed technicians and professionals. |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM09205A Produce electrical schematic drawings.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2

Assessment Requirements for MEM09205 Produce electrical schematic drawings

# Modification History

Release 1. Supersedes and is equivalent to MEM09206A Produce drawings for mechanical services.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

determining purpose and scope for drawing requirements relevant to the project utilising all available information

determining the function and purpose of circuit and its discrete components and assemblies and confirming through consultation with appropriate personnel

preparing layout of drawings

producing detailed electrical schematic drawings in accordance with relevant Australian and international standards, including cable run and riser diagrams and switchboards on at least two occasions

drawing electrical circuits and connections between devices, including power and signal connections on at least two occasions

preparing an engineering parts list according to customer requirements

verifying parameters of the design brief with appropriate personnel

consulting with appropriate support services and presenting and explaining drawing.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures

different approaches to drawing

copyright and intellectual property issues and legislation in relation to drawing

requirements of Australian and international standards, with respect to electrical/electronic schematics/drawings

sources of information

quality assurance procedures

organisational standards for computer-aided drawing (CAD)

order of drawing process

organisational checking procedures for drawings

layout and presentation

standards applicable to the work to be undertaken

process of checking the completed drawing

process of storing paper drawings and electronic drawing files

International System of Units (SI)

terminology associated with the preparation of electrical diagrams and drawings

basic components used in electrical installations

wiring types used in electrical installations

functions of components including resistors and capacitors.

# Assessment Conditions

Assessors must:

have vocational competency in producing electrical schematic drawings at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible, assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2