# MEM09206 Produce drawings for mechanical services

Release: 1

MEM09206 Produce drawings for mechanical services

# Modification History

Release 1. Supersedes and is equivalent to MEM09206A Produce drawings for mechanical services.

# Application

This unit of competency defines the skills and knowledge required to produce detailed engineering drawings for mechanical services to Australian Standard (AS) 1100.101 Technical drawing - General principles and is primarily for those performing drafting work for the installation of heating, ventilation, air conditioning and refrigeration (HVAC/R) systems within the mechanical services industry.

Critical dimensions and specifications for the drawing are predetermined and drawings are carried out with or without the use of computer-aided design (CAD) systems.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

MEM09204 Produce basic engineering detail drawings

MEM09229 Read and interpret technical engineering drawings

# Competency Field

Drawing, drafting and design

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Determine job requirements | 1.1 Follow standard operating procedures (SOPs) 1.2 Comply with work health and safety (WHS) requirements at all times 1.3 Identify job requirements from available information 1.4 Determine purpose and scope of drawing and identify and address further information needs 1.5 Identify and prepare equipment required to complete work 1.6 Identify and apply relevant codes, standards and symbols used in the mechanical services industry for installation drawings 1.7 Identify and access organisational files, templates and symbols 1.8 Identify environmental implications of inefficient systems and strategies for minimising impact |
| 2. Identify HVAC/R measuring and control devices | 2.1 Identify operating principles and specifications of temperature and pressure measurement devices 2.2 Identify operating principles and specifications of air and fluid measurement instruments 2.3 Identify operating principles and specifications of standard control devices and measurement devices 2.4 Identify location requirements of control and measurement devices |
| 3. Produce drawings for installation of heating and cooling systems | 3.1 Apply operating principles and specifications of heating and cooling systems and equipment to drawing work 3.2 Complete drawing according to mechanical services industry standard for heating and cooling systems 3.3 Ensure drawing accurately reflects specifications and is presented according to organisational requirements and contains all relevant information 3.4 Evaluate drawing for system efficiency and make or report potential improvements |
| 4. Produce drawings for installation of air conditioning and exhaust systems | 4.1 Apply operating principles and specifications of air conditioning systems and equipment to drawing work 4.2 Apply operating principles and specifications of exhaust systems to drawing work 4.3 Complete drawing according to mechanical services industry standard for air conditioning systems 4.4 Present drawing according to organisational requirements 4.5 Evaluate drawing for system efficiency and make or report potential improvements |
| 5. Produce drawings for installation of refrigeration systems | 5.1 Apply operating principles and specifications of refrigeration systems and equipment to drawing work 5.2 Complete drawing according to mechanical services industry standard for refrigeration systems 5.3 Present drawing according to organisational requirements 5.4 Evaluate drawing for system efficiency and make or report potential improvements |
| 6. Consult with other disciplines | 6.1 Verify the parameters of the brief and clarify specifications with appropriate personnel 6.2 Identify and consult with support services 6.3 Present and explain drawings at appropriate stages of the project |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Available information includes one or more of the following: | floor plans, elevations, sections and site layout drawings construction documents building and coordination information work specifications information for plant services equipment design brief. |
| Industry standards include one or more of the following: | National Construction Code (NCC) Australian Standards (AS) legislation requirements from Building Practitioners Board National Gas Act Sheet Metal and Air Conditioning Contractors’ National Association (SMACNA) third-party manufacturing and installation standards organisational standards general practices. |
| Codes, standards and industry regulations include one or more of the following: | AS/NZS 1668 The use of ventilation and air conditioning in buildings AS 1682.1 Fire smoke and air dampers Specification AS 4254 Ductwork for air-handling systems in buildings building codes utilities regulations WHS codes of practice. |
| Heating and cooling systems and equipment include one or more of the following: | boilers clarifiers heat exchanges coils centrifugal chillers cooling towers pumps valves auto refill units expansion tanks pipe work systems. |
| Pressure and temperature measurement devices include one or more of the following: | humidistat thermostat. |
| Air conditioning equipment includes one or more of the following: | fans air filtration units heating systems cooling systems ducts and grilles diverters diffusers dampers humidifier/dehumidifier exhaust hoods. |
| Exhaust systems include one or more of the following: | kitchen fume dust smoke toilet car park. |
| Refrigeration equipment includes one or more of the following: | refrigeration compressors condensers evaporative condensers pumps. |
| Standard drawing conventions include one or more of the following: | use of correct sectioning technique identification of cutting plane accurate line types appropriate view positions use of correct symbols use of correct dimensioning technique provision of suitable number of views use of correct scales neat presentation. |
| Other disciplines include one or more of the following: | appropriate personnel: designer engineer supervisor contractor/consultant builder support services: estimating department and personnel engineering department and personnel drafting department and personnel project manager factory manager or staff stakeholders: team members cross-function support groups experts appropriate licensed technicians and professionals. |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM09206A Produce drawings for mechanical services.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2