# MEM09218 Participate in drafting projects for building services

Release: 1

MEM09218 Participate in drafting projects for building services

# Modification History

Release 1. Supersedes and is equivalent to MEM09218A Participate in drafting projects for building services.

# Application

This unit of competency defines the skills and knowledge required to participate in drafting projects for building services and is primarily for draftspersons providing detailed engineering drawings that must be integrated with other building services.

It covers the coordination of services within building sites, interpreting drawings and specifications from a variety of services and application of knowledge of building construction components and types to drawing development.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

MEM09204 Produce basic engineering detail drawings

MEM09229 Read and interpret technical engineering drawings

# Competency Field

Drawing, drafting and design

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Examine site information | 1.1 Follow standard operating procedures (SOPs) and comply with work health and safety (WHS) requirements at all times 1.2 Identify building features and types of building services from drawings and project information 1.3 Identify functions of building services, requirements for installation of components and implications for drawing work 1.4 Extract all required information from services and project documentation |
| 2. Integrate information from other services | 2.1 Prepare drawings that incorporate protocols for a multi-service site 2.2 Facilitate sequencing and coordination with other services 2.3 Integrate the functions of other building services into drafting work practices 2.4 Ensure installation plans are appropriate for building types and components |
| 3. Participate in site and coordination meetings | 3.1 Identify and apply meeting procedures and objectives 3.2 Present points of view and comments, including agreement and dissent, in a logical, persuasive and orderly manner 3.3 Obtain and consider points of view of other members 3.4 Submit drawings to project supervisor 3.5 Integrate feedback into drawings and prepare final draft |
| 4. Complete drawing | 4.1 Check final drawing and documentation to ensure all required specifications, symbols, dimensions and components are included according to standards and the design specification 4.2 Present and store drawing and documentation in accordance with SOPs |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Types of services in a building includes: | structural electrical lighting Plus one or more of the following: architectural power fire hydraulic mechanical communications lift siphonic drawings. |
| Building construction components include one or more of the following: | concrete block tilt panel in-situ pre-cast formed reinforcement and ceiling system for concrete slabs hollow core. |
| Sources of information include one or more of the following: | floor plans, elevations, sections and site layout drawings construction documents building and coordination information work specifications information for plant services equipment industry codes, standards and regulations project brief. |
| Protocols for a multi-service site include one or more of the following: | sequencing of installation consultations meetings. |
| Codes, standards and industry regulations include one or more of the following: | Australian Standards (AS): AS/NZS 1668 The use of ventilation and air conditioning in buildings AS 1682.1 Fire dampers – Specification AS 4254 Ductwork for air-handling systems in buildings building codes gas, water and electricity regulations standards for smoke alarms work health and safety (WHS) codes of practice. |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM09218A Participate in drafting projects for building services.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2