# MEM09224 Detail bolts and welds for structural steelwork connections

Release: 1

MEM09224 Detail bolts and welds for structural steelwork connections

# Modification History

Release 1. Supersedes and is equivalent to MSATCS302A Detail bolts and welds for structural steelwork connections.

# Application

This unit of competency defines the skills and knowledge required to detail various types of bolts and welds for structural steelwork connections consistent with design specifications for residential, commercial, industrial or mining fabrication and construction projects. It is suitable primarily for those working within a drafting work environment with engineering and manufacturing applications.

Work may be performed individually on a contracting/project basis or as part of a project team in response to combinations of paper-based and digital instructions.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

MEM09223 Interpret design specifications for structural steel detailing

MEM09229 Read and interpret technical engineering drawings

# Competency Field

Drawing, drafting and design

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Determine job requirements | 1.1 Follow standard operating procedures (SOPs) 1.2 Comply with work health and safety (WHS) requirements at all times 1.3 Identify job requirements from specifications 1.4 Determine fabrication shop capabilities and fabricator preferences |
| 2. Determine shop and field connections from design drawings | 2.1 Allocate connections as shop or field-welded in conjunction with fabricator 2.2 Allocate connections to be field-bolted and decide the extent of shop preparation of connections 2.3 Allocate connection fittings to either columns or beams to suit fabrication efficiency or design requirements 2.4 Make a request for further information (RFI) to design engineer where clarification of requirements is needed |
| 3. Detail bolts for connections | 3.1 Specify bolt types and sizes for each connection using design information and consideration of commercial availability 3.2 Select bolt and thread lengths according to design specifications and connection requirements 3.3 Detail bolt and bolt holes taking into account AS 4100 Steel structures requirements, tightening and tensioning specifications and clearances 3.4 Prepare and check field bolt list and send to fabricator |
| 4. Detail welds for connections | 4.1 Identify shop and field welds 4.2 Use standard welding symbols 4.3 Apply clearances for welding 4.4 Place field weld details on erection plans and shop drawings and submit to design engineer for approval |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Work environment includes one or more of the following: | commercial home office fabrication enterprise construction enterprise as part of a project team in response to combinations of paper based and electronic instructions. |
| Determination of bolt and thread lengths include one or more of the following: | shank lengths as defined in: AS 1111.1 ISO metric hexagon bolts and screws - Product grade C, Part 1: Bolts AS 1111.2 ISO metric hexagon bolts and screws - Product grade C, Part 2: Screws AS 1252.1 High-strength steel fastener assemblies for structural engineering - Bolts, nuts and washers, Part 1: Technical requirements AS 1252.2 High-strength steel fastener assemblies for structural engineering - Bolts, nuts and washers, Part 2: Verification testing for bolt assemblies whether the thread is to be included or excluded in the shear plane grip and ply thicknesses thread projection as per AS 4100 Steel structures nut and washer requirements. |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MSATCS302A Detail bolts and welds for structural steelwork connections.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2