# MEM10007 Modify control systems

Release: 2

MEM10007 Modify control systems

# Modification History

Release 2. Quantum of hours of workplace practice removed. Supersedes and is equivalent to MEM10007 Modify control systems (Release 1).

Release 1. Supersedes and is equivalent to MEM10007C Modify control systems.

# Application

This unit of competency defines the skills and knowledge required to plan the commissioning procedure, assess the control system performance, adjust the control system and undertake commissioning modifications.

Some jurisdictions may require the holder of this unit using the refrigeration and air conditioning pathways to be licensed or certified and users should check with the relevant authorities.

Band:	B

Unit Weight:	6

# Pre-requisite Unit

| Path 1 | MEM09002 | Interpret technical drawing |
| --- | --- | --- |
|  | MEM11011 | Undertake manual handling |
|  | MEM12002 | Perform electrical/electronic measurement |
|  | MEM12003 | Perform precision mechanical measurement |
|  | MEM12023 | Perform engineering measurements |
|  | MEM12024 | Perform computations |
|  | MEM12025 | Use graphical techniques and perform simple statistical computations |
|  | MEM13015 | Work safely and effectively in manufacturing and engineering |
|  | MEM14006 | Plan work activities |
|  | MEM16006 | Organise and communicate information |
|  | MEM16010 | Write reports |
|  | MEM18001 | Use hand tools |
|  | MEM18002 | Use power tools/hand held operations |
|  | MEM18003 | Use tools for precision work |
|  | MEM18006 | Perform precision fitting of engineering components |
|  | MEM18018 | Maintain pneumatic system components |
|  | MEM18019 | Maintain pneumatic systems |
|  | MEM18020 | Maintain hydraulic system components |
|  | MEM18021 | Maintain hydraulic systems |
|  | MEM18022 | Maintain fluid power controls |
|  | MEM18023 | Modify fluid power system operation |
|  | MEM18053 | Modify fluid power control systems |
|  | MEM18055 | Dismantle, replace and assemble engineering components |
| Path 2 | MEM05001 | Perform manual soldering/desoldering - electrical/electronic components |
|  | MEM09002 | Interpret technical drawing |
|  | MEM11011 | Undertake manual handling |
|  | MEM12004 | Perform precision electrical/electronic measurement |
|  | MEM12023 | Perform engineering measurements |
|  | MEM12024 | Perform computations |
|  | MEM13015 | Work safely and effectively in manufacturing and engineering |
|  | MEM14006 | Plan work activities |
|  | MEM16006 | Organise and communicate information |
|  | MEM18001 | Use hand tools |
|  | MEM18002 | Use power tools/hand held operations |
|  | MEM18054 | Fault find, test and calibrate instrumentation systems and equipment |
|  | MEM18055 | Dismantle, replace and assemble engineering components |
|  | MEM18057 | Maintain/service analog/digital electronic equipment |
|  | MEM18060 | Maintain, repair control instrumentation - single and multiple loop control systems |
|  | MEM18062 | Install, maintain and calibrate instrumentation sensors, transmitters and final control elements |
|  | MEM18067 | Tune control loops - multi controller or multi element systems |
| Path 3 | MEM05001 | Perform manual soldering/desoldering - electrical/electronic components |
|  | MEM05002 | Perform high reliability soldering and desoldering |
|  | MEM09002 | Interpret technical drawing |
|  | MEM11011 | Undertake manual handling |
|  | MEM12004 | Perform precision electrical/electronic measurement |
|  | MEM12023 | Perform engineering measurements |
|  | MEM12024 | Perform computations |
|  | MEM13015 | Work safely and effectively in manufacturing and engineering |
|  | MEM14006 | Plan work activities |
|  | MEM16006 | Organise and communicate information |
|  | MEM18001 | Use hand tools |
|  | MEM18002 | Use power tools/hand held operations |
|  | MEM18056 | Diagnose and repair analog equipment and components |
|  | MEM18057 | Maintain/service analog/digital electronic equipment |
|  | MEM18058 | Modify electronic equipment |
|  | MEM18059 | Modify electronic systems |
|  | MEM18065 | Diagnose and repair digital equipment and components |
| Path 4 | MEM09002 | Interpret technical drawing |
|  | MEM11011 | Undertake manual handling |
|  | MEM12002 | Perform electrical/electronic measurement |
|  | MEM12023 | Perform engineering measurements |
|  | MEM12024 | Perform computations |
|  | MEM13015 | Work safely and effectively in manufacturing and engineering |
|  | MEM14006 | Plan work activities |
|  | MEM16006 | Organise and communicate information |
|  | MEM18001 | Use hand tools |
|  | MEM18002 | Use power tools/hand held operations |
|  | MEM18055 | Dismantle, replace and assemble engineering components |
|  | MEM18086 | Test, recover, evacuate and charge refrigeration systems |
|  | MEM18088 | Maintain and repair commercial air conditioning systems and components |
|  | MEM18092 | Maintain and repair commercial and/or industrial refrigeration and/or air conditioning controls |
| Path 5 | MEM09002 | Interpret technical drawing |
|  | MEM11011 | Undertake manual handling |
|  | MEM12002 | Perform electrical/electronic measurement |
|  | MEM12023 | Perform engineering measurements |
|  | MEM12024 | Perform computations |
|  | MEM13015 | Work safely and effectively in manufacturing and engineering |
|  | MEM14006 | Plan work activities |
|  | MEM16006 | Organise and communicate information |
|  | MEM18001 | Use hand tools |
|  | MEM18002 | Use power tools/hand held operations |
|  | MEM18055 | Dismantle, replace and assemble engineering components |
|  | MEM18086 | Test, recover, evacuate and charge refrigeration systems |
|  | MEM18090 | Maintain and repair industrial refrigeration systems and components |
|  | MEM18092 | Maintain and repair commercial and/or industrial refrigeration and/or air conditioning controls |
| Path 6 | MEM09002 | Interpret technical drawing |
|  | MEM11011 | Undertake manual handling |
|  | MEM12002 | Perform electrical/electronic measurement |
|  | MEM12023 | Perform engineering measurements |
|  | MEM12024 | Perform computations |
|  | MEM13015 | Work safely and effectively in manufacturing and engineering |
|  | MEM14006 | Plan work activities |
|  | MEM16006 | Organise and communicate information |
|  | MEM18001 | Use hand tools |
|  | MEM18002 | Use power tools/hand held operations |
|  | MEM18055 | Dismantle, replace and assemble engineering components |
|  | MEM18086 | Test, recover, evacuate and charge refrigeration systems |
|  | MEM18089 | Maintain and repair central air handling systems |
|  | MEM18090 | Maintain and repair industrial refrigeration systems and components |
|  | MEM18093 | Maintain and repair integrated industrial refrigeration and/or large air handling system controls |
| Path 7 | MEM09002 | Interpret technical drawing |
|  | MEM11011 | Undertake manual handling |
|  | MEM12002 | Perform electrical/electronic measurement |
|  | MEM12023 | Perform engineering measurements |
|  | MEM12024 | Perform computations |
|  | MEM13015 | Work safely and effectively in manufacturing and engineering |
|  | MEM14006 | Plan work activities |
|  | MEM16006 | Organise and communicate information |
|  | MEM18001 | Use hand tools |
|  | MEM18002 | Use power tools/hand held operations |
|  | MEM18054 | Fault find, test and calibrate instrumentation systems and equipment |
|  | MEM18055 | Dismantle, replace and assemble engineering components |
|  | MEM18060 | Maintain, repair control instrumentation - single and multiple loop control systems |
|  | MEM18062 | Install, maintain and calibrate instrumentation sensors, transmitters and final control elements |
|  | MEM18064 | Maintain instrumentation system components |
|  | MEM18067 | Tune control loops - multi controller or multi element systems |

# Competency Field

Installation and commissioning

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, drawings, job sheets or work instructions |
| 2 | Plan commissioning procedure | 2.1 | Determine control system format and understand operational intent |
|  |  | 2.2 | Sequence commissioning procedures effectively to meet requirement of components and control application |
| 3 | Check control system installation | 3.1 | Verify correct installation of system components against specifications |
|  |  | 3.2 | Ensure appropriate test equipment is functional and calibrated before use |
|  |  | 3.3 | Ensure components or control loop/system is powered up and checked for correct supply in accordance with specifications |
|  |  | 3.4 | Ensure all readings/measurements are obtained, interpreted and recorded |
| 4 | Adjust control system and assess performance | 4.1 | Adjust control loop/system components to meet control characteristics, application and process specifications utilising appropriate techniques |
|  |  | 4.2 | Make final verifications including any operational adjustments to ensure required performance |
| 5 | Commission modifications | 5.1 | Ensure necessary modifications to change performance in order to meet manufacturers’ or operational specifications or safety and legislative requirements are undertaken or actioned |
|  |  | 5.2 | Provide reports on system/process characteristics for warranty, handover and legislative purposes |
|  |  | 5.3 | Document all modifications and record result according to SOPs |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Commissioning includes: | the development of a commissioning procedure, testing of operation and adjustment to conform to specification |
| Control system includes: | closed or open on continuous or step process control systems. Loop/system control can incorporate the use of pneumatics, electrical, electronics, hydraulics or a combination |
| System components include one (1) or more of the following: | all instruments and devices which make up or control a loop/system, including: sensing devices control devices actuators transducers |

# Unit Mapping Information

Release 2. Supersedes and is equivalent to MEM10007 Modify control systems (Release 1).

Release 1. Supersedes and is equivalent to MEM10007C Modify control systems.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2