# Assessment Requirements for MEM10012 Erect structures

Release: 1

Assessment Requirements for MEM10012 Erect structures

# Modification History

Release 1. Supersedes and is equivalent to MEM10001 Erect structures.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two occasions and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

identifying and interpreting specifications and drawings for erecting structures for on-site or off-site locations

ensuring the site is level and prepared to specifications

preparing structural components for correct sequential erection

erecting structures and adjusting structures to specifications

completing all reports and documentation and compliance reports to required specifications.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE)

site management requirements

site preparation and levelling requirements

range of technique and/or equipment which can be used to check the site levels

procedures to be followed if the location, dimensions and/or levels of the site do not comply with specifications

procedures for making a range of alterations and/or corrections using appropriate methods and/or techniques

procedures for checking the components of the structure

legislative and regulatory guidelines

materials specifications, applications, properties and characteristics

correct erection sequence

methods and selection of fixing and/or fastening the components of the structure

methods and selection of lifting and/or moving the components of the structure

methods and selection of locating and/or holding the components

adjustments which can be made to bring the structure into specification

approval process for final alterations

procedures for checking the structure for conformance and procedures to be followed if the structure does not comply

procedures for completing required documentation and compliance reports.

# Assessment Conditions

Assessors must:

have vocational competency in erecting structures at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Assessment must occur in a functioning workplace. Where assessment in the workplace would be unsafe, impractical or threatens the environment, assessment must occur in a sufficiently rigorous simulated environment that reflects the circumstances that would be experienced in a functioning workplace. Assessment must cover all aspects of workplace performance, including task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2