# MEM10013 Install split air conditioning systems and associated pipework

Release: 1

MEM10013 Install split air conditioning systems and associated pipework

# Modification History

Release 1. Supersedes and is equivalent to MEM10013A Install split air conditioning systems and associated pipework

# Application

This unit of competency defines the skills and knowledge required to install split air conditioning systems and associated pipework up to 18 kW cooling capacity.

This unit refers to plug in applications only. Where the installation and connection to mains supply of fixed wiring is necessary then this work must be undertaken by a suitably licensed person.

Where commissioning and decommissioning of split air conditioning systems is required see unit MEM18084 Commission and decommission split air conditioning systems.

Some jurisdictions may require the holder of this unit to be licensed or certified and users should check with the relevant authorities.

Band:	A

Unit Weight:	6

# Pre-requisite Unit

| MEM05006 | Perform brazing and/or silver soldering |
| --- | --- |
| MEM09002 | Interpret technical drawing |
| MEM11011 | Undertake manual handling |
| MEM12023 | Perform engineering measurements |
| MEM13015 | Work safely and effectively in manufacturing and engineering |
| MEM16006 | Organise and communicate information |
| MEM18001 | Use hand tools |
| MEM18002 | Use power tools/hand held operations |
| MEM18055 | Dismantle, replace and assemble engineering components |

# Competency Field

Installation and commissioning

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, drawings, job sheets or work instructions |
| 2 | Locate split air conditioning components | 2.1 | Determine the location of unit components, piping and drains in consultation with customer and other site considerations |
|  |  | 2.2 | Ensure industry and local authority requirements, standards and codes and manufacturer requirements are identified, including the appropriate capacity rating of the equipment and any impacts on the installation are identified |
| 3 | Inspect and prepare installation sites | 3.1 | Carry out all work safely to Australian Standards, state and local codes and regulations |
|  |  | 3.2 | Prepare the installation site to industry codes of practice and manufacturer installation instructions, as appropriate |
|  |  | 3.3 | Carry out the work without damage to the system, components and the surrounding environment or services |
| 4 | Prepare split system equipment and materials for installation | 4.1 | Identify and note safety hazards and ensure established risk control measures are implemented |
|  |  | 4.2 | Consult appropriate personnel to ensure the work is coordinated effectively with others involved on the worksite |
|  |  | 4.3 | Check all components, piping and fittings for conformance to manufacturer specification, job requirements and applicable standards |
|  |  | 4.4 | Determine the layout of the pipework from job specifications and diagrams |
|  |  | 4.5 | Obtain materials needed to carry out the work in accordance with established procedures and check against job requirements |
|  |  | 4.6 | Obtain tools, equipment and testing devices needed to conduct the work in accordance with established procedures and check for correct operation and safety |
|  |  | 4.7 | Check preparatory work to ensure no damage has occurred and that it complies with work requirements |
| 5 | Prepare and install refrigerant pipework | 5.1 | Use tools and equipment in accordance with manufacturers’ instructions |
|  |  | 5.2 | Ensure pipework is prepared and joined to required specification with minimal wastage and damage/contamination to environment |
|  |  | 5.3 | Join pipework and fittings using appropriate pipe joining methods |
|  |  | 5.4 | Ensure pipes are run separately and insulated according to manufacturer instructions and to relevant standards codes and regulations |
|  |  | 5.5 | Check pipework and joins for compliance and integrity using appropriate testing methods |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Unit components include the following: | outdoor unit, indoor unit, fittings and fixtures |
| Site considerations include the following: | inside wall, drains, pipe runs, exposure, access, air circulation, environment and power supply |
| Prepare installation site includes one (1) or more of the following: | clearing and levelling foundations wall fixtures roof mounting |
| Prepared and joined includes the following: | cutting to length, flaring, swaging and bending |
| Pipe joining methods include one (1) or more of the following: | silver brazing soldering |
| Equipment and testing devices include one (1) or more of the following: | refrigeration gauge manifold Schraeder access valves quick connect couplings thermometer/thermocouple temperature measuring devices analogue and digital vacuum measuring gauges digital scales refrigerant recovery unit vacuum pump electronic leak detectors refrigerant containers/cylinders |
| Industry best practice includes the following: | pipe preparation and joining techniques and industry best practice for pipe brazing |
| Commonwealth, state and territory legislation, regulations, standards, codes of practice, and industry guidelines include the following: | The Ozone Protection and Synthetic Greenhouse Gas Legislation Amendment Bill 2003 air conditioning residential best practice guidelines (AIRAH) state/territory and local building regulations codes of practice for domestic refrigeration and air conditioning (HB40) |
| Appropriate testing methods include the following: | dimensional checks and leak tests |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM10013A Install split air conditioning systems and associated pipework

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2