# Assessment Requirements for MEM10020 Install low voltage cabling and fit-off accessories, appliances and equipment

Release: 3

Assessment Requirements for MEM10020 Install low voltage cabling and fit-off accessories, appliances and equipment

# Modification History

### Release 3. Prerequisite units updated

Release 2. Minor adjustments to reflect ERAC requirements for electrician licensing and revision of Essential Performance Capabilities

Release 1. New unit

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

identifying and interpreting circuits, drawings, plans and specifications relevant to the work to be undertaken

planning the cable routes in accordance with legislative and customer requirements

installing cable support systems

complying with the following cable support system requirements:

bending steel conduits (where applicable) such that the internal diameter is not significantly reduced

preparing entry joints and joints to ensure cable insulation is not damaged

joining steel conduits together using appropriate accessories or if required through a welding process

ensuring that they are adequately sealed against entry of water or rain

installing wiring systems using applicable cable support systems according to the electrical installation requirements and standards paying particular attention to factors effecting cable current-carrying capacity

maintaining fire integrity

terminating cables and conductors to switchboard protective devices

terminating cables and conductors at switchboards, accessories and appliances according to legislative, regulatory and manufacturer requirements

installing all accessories, appliances and equipment square and straight and in the required location using appropriate hand and power tools

ensuring appropriate Ingress Protection (IP) rating when selecting suitable electrical equipment

inspecting and testing installed and terminated cables to ensure they comply with continuity and insulation resistance and are safe to connect to the supply

rectifying any defects and retesting to ensure compliance

connecting and terminating consumers mains to an installation

completing appropriate documentation in accordance with SOPs.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE)

Australian Standards, codes and requirements applicable to the installation for:

thermoplastic sheathed (TPS - flat and circular) and thermoplastic insulated (TPI) cables

fire protection and mineral insulated metal sheathed (MIMS) cables

steel wired armoured (SWA)

flexible cords used as fixed wiring

trailing cable and catenary wire systems

cables support systems

protection against mechanical damage

wiring systems likely to be disturbed

wiring systems installed vertically

change of direction

prohibited cable locations

selection and installation to minimise the spread of fire

limitation of circulating and eddy currents

Australian/New Zealand Wiring Rules requirements for enclosure of cables, including:

types of wiring enclosures – change of wiring enclosures, entry of water and support of cables

installation of wiring enclosures – support, continuity, bending, passage of conductors, terminations, in direct sunlight, provision for expansion and cable trunking

factors effecting cable current-carrying capacity

dissimilar metals in a corrosive environment

application of protective coatings, e.g. paint, galvanizing and powder coatings

techniques, tools and equipment required to install conduit (metallic and non-metallic), enclosures and support systems

Australian Standards, codes and requirements applicable to the installation of electrical equipment, including:

appliances

switchgear, controlgear and accessories

switchboards – location and access, physical and circuit arrangements

socket outlets

lighting equipment and accessories, lamps and luminaires

smoke and fire detectors

cooking appliances

appliances producing hot water or steam

room, space and duct heaters

electric heating cables for floors and ceilings

electricity converters

motors, transformers, capacitors and batteries

control, switching and over current and residual current device (RCD) protection

required and permitted locations for current-using equipment and accessories

suitable IP rating

correct marking of equipment

terminal configuration of phase, neutral and protective earthing conductors for each type of equipment

installation standards called up by the Australian/New Zealand Wiring Rules for special situations, including:

movable premises and caravan parks

shows and carnivals

boating marinas

electromedical treatment areas

outdoor sites under heavy conditions

cranes and hoists

lifts

cold cathode illumination systems

electric fences

construction and demolition sites

film, video and television sites

telecommunications networks power supplies

hazardous areas e.g. AS/NZS 2430:2004 Classification of hazardous areas, AS/NZS 2381 Set:2008 Electrical equipment for explosive gas atmospheres – Selection, installation and maintenance Set (or their equivalent updated versions)

Australian/New Zealand Wiring Rules requirements for special electrical installations or locations, including:

baths, showers or other fixed water containers

swimming pools, paddling pools and spa pools or tubs

sauna heaters

refrigeration rooms

locations where water general hosing down operations are carried out

fountains and water features

extra-low voltage electrical installations

high voltage electrical installations

hazardous areas

emergency systems

additional training required to work competently with electrical equipment for hazardous areas

underground wiring systems, including:

arrangements and installation requirements

spacing from other underground services

consumer mains

aerial wiring systems, including:

types of conductor

arrangements, clearances, distance between supports (spans), aerial conductor supports, poles and posts and joints and connections

Australian/New Zealand Wiring Rules and local supply authority requirements

testing of installed cables in compliance with Australian Standards

cables supported by catenary, including:

types of cables

catenary supports

tools, techniques and procedures for installing cables and wiring systems

testing and verification of installed and terminated cables to ensure they comply with a visual inspection, all mandatory and optional tests and are safe to connect to the supply

installation of underground and overhead consumer mains

termination of consumer mains at pillars, pits, mains connection boxes and consumers switchboard

installation of unprotected consumers mains to reduce the risk of short circuit to a minimum

installation of bonding conductors, where required.

# Assessment Conditions

Assessors must:

have vocational competency in installing low voltage cabling and fitting off accessories, appliances and equipment at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 and comply with the National Vocational Education and Training Regulator Act 2011 or equivalent legislation covering VET regulation in a non-referring State as the case requires.

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2