# MEM11002 Erect/dismantle intermediate scaffolding and equipment

Release: 1

MEM11002 Erect/dismantle intermediate scaffolding and equipment

# Modification History

Release 1. Supersedes and is equivalent to MEM11002C Erect/dismantle complex scaffolding and equipment

# Application

This unit of competency defines the skills and knowledge required to prepare, erect, maintain, inspect/alter/repair and dismantle intermediate scaffolding/equipment used generally in maintenance and installation in workshops, factories, manufacturing plants and warehouses.

Where interpretation of technical drawings is required unit MEM09002 Interpret technical drawing should also be selected.

Where the selection and use of engineering measurement is required unit MEM12023 Perform engineering measurements should also be selected.

Where the selection and use of power tools/hand held operations is required unit MEM18002 Use power tools/hand held operations should also be selected.

Where scaffolding alteration or repair work is undertaken appropriate units should also be selected.

Depending on the equipment being used a high risk work licence may be required and users should check with the relevant authorities.

Band:	A

Unit Weight:	4

# Pre-requisite Unit

| MEM11001 | Erect/dismantle scaffolding and equipment |
| --- | --- |
| MEM11011 | Undertake manual handling |
| MEM13015 | Work safely and effectively in manufacturing and engineering |
| MEM16006 | Organise and communicate information |
| MEM18001 | Use hand tools |

# Competency Field

Materials handling

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Interpret site plans, scaffolding/equipment designs and drawings to industry practices, as necessary |
| 2 | Prepare to erect intermediate scaffold/equipment | 2.1 | Inspect work area to identify hazards and implement appropriate prevention/control measures to avoid hazard |
|  |  | 2.2 | Prepare erection site to meet job requirements |
|  |  | 2.3 | Place necessary signage and barriers and third-party protection measures in appropriate position |
| 3 | Erect intermediate scaffold/equipment | 3.1 | Select and inspect appropriate scaffolding/equipment components and label and reject damaged components |
|  |  | 3.2 | Erect scaffolding/equipment to plan and in accordance with acceptable safe work practices, Australian Standards, state or territory legislative requirements and equipment manufacturers’ requirements |
|  |  | 3.3 | Check scaffolding/equipment for safety and operational requirements and identify faults in accordance with legislative requirements |
| 4 | Inspect, alter and/or repair intermediate scaffold/equipment | 4.1 | Repair or send for repair rejected components |
|  |  | 4.2 | Confirm alterations/repairs in accordance with safe work practices, Australian Standards and equipment manufacturers’ requirements |
|  |  | 4.3 | Inspect alterations/repairs for safety and operational requirements |
|  |  | 4.4 | Confirm and understand scope of alteration/repair |
|  |  | 4.5 | Inspect existing scaffold/equipment for suitability of alterations/repair requirements |
|  |  | 4.6 | Determine materials, equipment and tools required for alteration |
|  |  | 4.7 | Record/report work completion to appropriate authority |
| 5 | Dismantle intermediate scaffold/equipment | 5.1 | Inspect scaffolding/equipment for damage, corrosion or wear and note for consideration in planning for dismantling |
|  |  | 5.2 | Dismantle scaffolding/equipment in accordance with site procedures, state and territory legislative requirements and critical structural and safety requirements |
|  |  | 5.3 | Clear and clean site of all tools, excess material and debris and leave in a safe state |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Scaffolding/equipment includes one (1) or more of the following: | modular or prefabricated scaffolds cantilevered materials hoists with a maximum working load of 500 kg ropes and gin wheels safety nets and static lines, and bracket scaffolds (tank and formwork) cantilevered crane loading platforms cantilevered and spurred scaffolds barrow ramps and sloping platforms perimeter safety screens and shutters mast climbers tube and coupler scaffolds (including tube and coupler covered ways and gantries) |
| Maintaining scaffold includes the following: | ensuring that the scaffolding remains in a safe condition according to manufacturers’ specifications and legislative requirements |
| Hazards include one (1) or more of the following: | chemicals dangerous or hazardous substances/materials movement of equipment, goods and materials vehicular traffic uneven/unstable terrain overhead service lines trees underground services obstructions structures surrounding buildings facilities bridges/walkways lifting equipment |
| Prescribed procedures include one (1) or more of the following: | clarification of instructions either written or from authorised personnel site safety policy and procedures SOPs correct use of equipment industry standards and requirements manufacturers’ specifications |
| Signage, barriers and third-party protection measures include one (1) or more of the following: | physical barriers (para webbing, bollards, timber or metal) warning/direction signs personnel to restrict unauthorised access (spotters) permits to work |
| Safe work practices include the following: | hazard identification risk assessment SOPs housekeeping PPE |
| State or territory legislative requirements include the following: | appropriate WHS and Scaffolding Acts and regulations Australian standards and codes of practice, including: NOHSC:1006, National Occupational Health and Safety Certification Standards for Users and Operators of Industrial Equipment |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM11002C Erect/dismantle complex scaffolding and equipment

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2