# MEM12019 Measure components using coordinate measuring machines

Release: 1

MEM12019 Measure components using coordinate measuring machines

# Modification History

Release 1. Supersedes and is equivalent to MEM12019B Measure components using coordinate measuring machines

# Application

This unit of competency defines the skills and knowledge required to operate coordinate measuring machines (CMM) in a production environment, including basic setting up of components and manually aligning probes.

Where other machines/processes are to be adjusted as a consequence of the CMM operation, appropriate machining/process operation units should also be selected.

Where basic operation excludes setting up components and manually aligning probes is required unit MEM07024 Operate and monitor machine and process should also be selected.

Where interpretation of technical drawings is required unit MEM09002 Interpret technical drawing should also be selected.

Where the selection and use of engineering measurement is required unit MEM12023 Perform engineering measurements should also be selected.

Where the selection and use of tools is required unit MEM18001 Use hand tools should also be selected.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

Band:	A

Unit Weight:	4

# Pre-requisite Unit

| MEM13015 | Work safely and effectively in manufacturing and engineering |
| --- | --- |
| MEM16006 | Organise and communicate information |

# Competency Field

Measurement

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, sketches, job sheets or work instructions |
| 2 | Load components | 2.1 | Undertake pre-start checks in accordance with SOPs |
|  |  | 2.2 | Observe correct safety procedures and check safety equipment for correct operation |
|  |  | 2.3 | Select correct fixture/clamping device |
|  |  | 2.4 | Load and clamp component and fixtures in accordance with SOPs |
| 3 | Set probes | 3.1 | Check probe configuration in accordance with specifications |
|  |  | 3.2 | Take pre-measurement manual hits to determine probe alignment in accordance with SOPs |
| 4 | Measure components | 4.1 | Select, run and verify part program, as required |
|  |  | 4.2 | Measure components utilising appropriate measuring devices |
|  |  | 4.3 | Interpret results and identify and report non-conforming/out-of-tolerance measurements |
|  |  | 4.4 | Shut down part program and remove components |
|  |  | 4.5 | Leave coordinate measuring machine, accessories and surrounds in a clean, safe condition |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Probes include one (1) or more of the following: | solid trigger probes electronic trigger probes |
| Measure components includes the following: | are limited to those which can be measured directly and do not require measurements to be constructed mathematically |
| Coordinate measurement machines include one (1) or more of the following: | manual machines machines fitted with microprocessors |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM12019B Measure components using coordinate measuring machines

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2