# Assessment Requirements for MEM12023 Perform engineering measurements

Release: 1

Assessment Requirements for MEM12023 Perform engineering measurements

# Modification History

Release 1. Supersedes and is equivalent to MEM12023A Perform engineering measurements

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

identifying and interpreting measurement requirements from specifications

selecting appropriate measuring device or equipment to achieve the required outcome

obtaining measurements in a safe and effective manner and recording measurements, including preparing a freehand sketch which depicts required information, as required

performing calculations to determine or verify dimensions

storing and maintaining measuring devices including routine adjustments according to manufacturer’s specifications or SOPs.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures

correct application of a range of measuring devices

correct and appropriate measuring technique for a range of measuring devices

calculations, including addition, subtraction, multiplication, division, fractions and decimals

manufacturer’s or SOPs for handling and storing a range of measuring devices

appropriate procedures for adjusting and zeroing a range of measuring devices, including scale adjustment

appropriate methods of communicating measurements by drawings.

# Assessment Conditions

Assessors must:

have vocational competency in performing engineering measurements at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2