# MEM13017 Apply safety practices, procedures and compliance standards associated with licensed electrical work

Release: 3

MEM13017 Apply safety practices, procedures and compliance standards associated with licensed electrical work

# Modification History

### Release 3. Prerequisite units update

Release 2. Minor adjustments to reflect ERAC requirements for electrician licensing and revision of Essential Performance Capabilities

Release 1. New unit

# Application

This unit of competency has been developed for Engineering Tradesperson – industrial electrician apprenticeship training and the recognition of trade-level skills in working safely with electrical installations and equipment; following work health and safety (WHS) systems and procedures; and the scope, application and fundamental principles of AS/NZS 3000:2007 Electrical installations (known as the Australian/New Zealand Wiring Rules).

It covers knowledge of the application of WHS regulations; procedures for identifying and mitigating electrical hazards; supervision requirements applying to apprentices and trainees; following documented safe work methods, including safe isolation procedures: and application of compliance standards to ensure electrical installations and equipment are safe to use.

This unit covers the skills and knowledge required to meet the Electrical Regulatory Authorities Council (ERAC).

Essential Performance Capabilities (EPCs):

EPC 45 – Demonstrate the knowledge and practices that are essential for working safely with electrical equipment and tools, for safe manual handling, working safely at heights and in confined spaces. Knowledge of testing and tagging procedures to AS 3760.

EPC 55 – Demonstrate knowledge and application of electricity generation systems and electricity converters and the requirements of AS/NZS 3000 Wiring Rules for stand-alone and grid connected systems. Basic knowledge of battery storage systems and uninterruptible power supplies.

### And

Essential Performance Capability (EPC) classified as ’critical’:

EPC 10 – Demonstrate an understanding of the fundamental safety principles of AS/NZS 3000 Part 1. Knowledge of hierarchy of standards. Nomative/informative text.

EPC 31 – Demonstrate the knowledge and skill to perform effective isolation of any equipment, including switch and lock off, circuit isolation, equipment testing and tag out procedures, including capacitor banks.

EPC 43 – Demonstrate understanding of the requirements for personal safety in the workplace and application of safety practices.

Some jurisdictions require the holder of this unit to be licensed or certified and users should check with the relevant authorities.

Band:	A

Unit Weight:	2

# Pre-requisite Unit

| MEM13015 | Work safely and effectively in manufacturing and engineering |
| --- | --- |

# Competency Field

Work health and safety

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1. | Follow WHS systems and procedures | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with WHS requirements at all times, including appropriate risk control measures |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, drawings, job sheets or work instructions |
|  |  | 1.5 | Isolate and tag circuits and equipment in accordance with procedures, where required |
|  |  | 1.6 | Ensure all tools and equipment are checked for safety in accordance with procedures and regulatory requirements |
|  |  | 1.7 | Follow established safety rules before beginning work on electrical wiring and equipment |
|  |  | 1.8 | Determine and implement the level of supervision required appropriate to the type of electrical work and the level of the apprentice’s and/or trainee’s training |
|  |  | 1.9 | Follow safe work procedures when working at heights and in confined spaces |
| 2. | Perform emergency first aid | 2.1 | Assess situation to identify points of danger to the injured person and potential rescuer |
|  |  | 2.2 | Rescue/recover injured person or provide assistance to injured person in accordance with recognised standards/procedures |
|  |  | 2.3 | Make contact with the appropriate medical and rescue authorities |
|  |  | 2.4 | Record details of first aid given |
| 3. | Identify codes of practice, standards and organisations that have an impact on the work of licensed electricians | 3.1 | Identify the codes of practice that apply to work carried out by licensed electricians |
|  |  | 3.2 | Apply the fundamental safety procedures as outlined in AS/NZS 3000:2007 Electrical Installations (known as the Australian/New Zealand Wiring Rules) Part 1 |
|  |  | 3.3 | Identify the other relevant standards that apply to work carried out by licensed electricians |
|  |  | 3.4 | Identify other regulatory requirements that apply to work carried by licensed electricians |
|  |  | 3.5 | Identify reference compliance standards for electricity generation systems and electricity converters |
|  |  | 3.6 | Identify organisations that have an impact on the roles and responsibilities of licensed electricians |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Regulatory requirements include: | AS/NZS 3000:2007 Electrical installations (known as the Australian/New Zealand Wiring Rules) AS/NZS 3008.1.1:2009 Electrical Installations – Selection of cables – Cables for alternating voltages up to and including 0.6/1 kV – typical Australian installation conditions AS/NZS 3017:2007 Electrical installations – Verification guidelines AS/NZS 3760:2010 In-service safety inspection and testing of electrical equipment Electrical Safety Act (various states/territories) electrical regulations (various states/territories) local service rules the Building Code of Australia |
| Compliance standards include: | AS/NZS 4777:2005 (series), Grid connected inverter systems AS/NZS 5033:2014 Installation and safety requirements for photovoltaic (PV) arrays AS/NZS 3010:2005 Electrical installations – Generating sets AS/NZS 4509 (series), Stand-alone power systems AS 3011.1:1992 Electrical installations – Secondary batteries installed in buildings |
| Organisations include: | Electrical Regulatory Authorities Council (ERAC) Electrical Safety Office or equivalent (various states/territories) Electrical Contractor Association or equivalent (various states/territories) energy supply authorities local TAFE |
| Safe working practices include: | demonstration of safe working practices and installation in accordance with industry established safe and sound practices |

# Unit Mapping Information

Release 2. Equivalent. Minor adjustments to reflect ERAC requirements for electrician licensing and revision of Essential Performance Capabilities.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2

Assessment Requirements for MEM13017 Apply safety practices, procedures and compliance standards associated with licensed electrical work

# Modification History

### Release 3. Prerequisite units updated

Release 2. Minor adjustments to reflect ERAC requirements for electrician licensing and revision of Essential Performance Capabilities

Release 1. New unit

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

determining the electrical and non-electrical isolation requirements to prevent the creation of hazards linked from the loss of machine/system/process control according to established procedures

using lock out tag procedures with appropriate tags/signs

preparing a safe work method statement (SWMS) or job safety analysis (JSA) in the absence of established procedures for effective isolation

proving electrical isolation and following established safety rules prior to working on electrical equipment or wiring, including capacitor banks

ensuring all electrical equipment and tools are tested and tagged and up to date

supervising all electrical apprentices and trainees to the level determined by their training and competence

working safely at heights and in confined spaces

applying procedures for movement/treatment of injured, including:

safe rescue of victim from a live situation

clearing of airways

cardio-pulmonary resuscitation (CPR)

care of spinal injuries

treatment of cuts/lesions

treatment of burns/scalds

treatment of shock

accessing and using other relevant standards associated with electrical installation work

accessing and abiding by codes of practice and other regulatory requirements

contacting (when appropriate) organisations for guidance and assistance.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE)

typical hazards and risks in an electrical installation, including:

effects on the human body of various levels of alternating current (AC) and direct current (DC) and duration of current flow for various current paths

risk of ignition of flammable materials due to the thermal effects of current or electric arcs in normal service of an electrical installation

risk of injury from mechanical movement of electrical actuated equipment

protection from direct contact (basic protection)

acceptable methods

use of extra-low voltage (ELV)

procedures and principles used to control risks associated with these hazards, including:

the development of a work health and safety (WHS) policy

consultation with everyone involved in the workplace

providing information training

identifying and assessing hazards

implementing and following risk control measures

maintaining and improving the WHS program

approved lock out and tag procedures, including:

purpose and use of SWMS or JSA

reasons for isolation

lock-off equipment and signage

tools and equipment to prove electrical isolation of circuit/installation/system including capacitor banks is dead

testing and tagging guidelines for electrical equipment and tools in accordance with AS/NZS 3760:2010 In-service safety inspection and testing of electrical equipment

level of supervision required by electrical apprentices and trainees

safe use of ladders and elevated work platforms, and working at heights

working in confined spaces, including the following:

identification of the hazards

assessing the risks

controlling the risks

emergency procedures

workplace emergency procedures, including appropriate methods of rescue:

removal of the victim of electric shock, including live switchboard rescue from live low voltage conductors

release from contact with live high voltage conductors (no attempt should be made until circuit has been switched off)

risks associated with fallen distribution lines and the associated voltage gradients

other points of danger, including:

fire

traffic

risks including chemicals

possibility of falls

life support – CPR procedures, including duty of care

appropriate use of fire extinguishers for given types of fires

using carbon dioxide or dry chemical powder to fight electrical fires

appropriate local medical and rescue services

recording of first aid delivered

codes of practice and regulatory requirements, including:

Electrical Safety Act or equivalent

Electrical Regulations or equivalent

Service Rules provided by local electricity distributors

Building Code of Australia

AS/NZS 3000:2007 Electrical installations (known as the Australian/New Zealand Wiring Rules) Part 1 – Scope, application and fundamental principles in regards to the following:

scope and application

referenced documents

definitions

alterations, additions and repairs

alternative arrangements

protection for safety, including:

against both direct and indirect contact by use of ELV

against direct and indirect contact

use of residual current devices (RCDs)

thermal effects in normal service

unwanted voltages

over-current and fault currents

over-voltage

injury from mechanical movement

devices for isolation

fire integrity

design of an electrical installation, including:

protection, functioning and compatibility

supply characteristics

maximum demand

voltage drop

electrical installation circuit arrangements

external influences

selection of electrical equipment, including:

safety requirements

external influences

adverse effects and interference

evidence of compliance

installation of electrical equipment, including:

safe and sound practice

accessibility

information and identification

segregation

inspection and testing, including:

visual inspection

continuity of earthing system

insulation resistance

polarity

correct circuit connections

knowledge of hierarchy of standards

normative/informative text

other relevant standards associated with electrical installation work and testing and tagging of electrical equipment and tools

Australian/New Zealand Wiring Rules requirements for electricity generation systems installation and electricity converters

reference compliance standards, including:

AS/NZS 4777 (series), Grid connected inverter systems

AS/NZS 5033:2014 Installation and safety requirements for photovoltaic (PV) arrays

AS/NZS 3010:2005 Electrical installations – Generating sets

AS/NZS 4509 (series), Stand-alone power systems

AS 3011.1:1992 Electrical installations – Secondary batteries installed in buildings

fundamental requirements of electricity generating systems, including:

DC polarity, including switching and protection devices

inverter principles

safe isolation and testing of systems

arrangement for connecting an alternative supply to an installation

earthing arrangements

battery storage systems and requirements

uninterruptible power supplies

organisations that can have an impact of the role of the licensed electrician.

# Assessment Conditions

Assessors must:

have vocational competency in applying safety practices, procedures and compliance standards associated with licensed electrical work at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 and comply with the National Vocational Education and Training Regulator Act 2011 or equivalent legislation covering VET regulation in a non-referring State as the case requires.

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2