# MEM15020 Perform inspection of measuring instruments

Release: 1

MEM15020 Perform inspection of measuring instruments

# Modification History

Release 1. Supersedes and is equivalent to MEM15020C Perform verification/certification or in-service inspection.

# Application

This unit of competency defines the skills and knowledge required to test a range of measuring instruments used for trading activities and is designed for those performing trade measurement inspection or certification activities in public or private enterprises. It applies to the legal verification/certification or in-service inspection of measuring instruments used for trading activities.

It can be applied to the inspection of trade measuring instruments, including those used for measuring pre-packed articles, and direct and/or indirect trading to the public.

Where work requires measuring instruments of a lower level of complexity and range and lower scope relating to uniform test procedures and reference materials unit MEM15004 Perform inspection and unit MEM15005 Select and control inspection processes and procedures, should also be selected as appropriate.

Where use and maintenance of reference standards is required, unit MEM15017 Use and maintain reference standards should also be selected.

Where the selection and use of power tools/hand held operations is required, unit MEM18002 Use power tools/hand held operations should also be selected.

Some jurisdictions may require the holder of this unit to conform to regulatory and/or legislative requirements and users should check with the relevant authorities.

### Band: B

### Unit Weight: 12

# Pre-requisite Unit

MEM09002 Interpret technical drawing

MEM11011 Undertake manual handling

MEM12023 Perform engineering measurements

MEM13015 Work safely and effectively in manufacturing and engineering

MEM16006 Organise and communicate information

MEM18001 Use hand tools

# Competency Field

Quality

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Determine job requirements | 1.1 Follow standard operating procedures (SOPs) 1.2 Comply with work health and safety (WHS) requirements at all times 1.3 Determine type and function of measuring instrument 1.4 Determine if a verification, certification or in-service tolerance is to be applied for inspection of the instrument 1.5 Identify appropriate tolerances for the determined inspection |
| 2. Perform inspection of measuring instruments to determine compliance | 2.1 Determine the impact of the operating environment on the instrument 2.2 Identify sources of any possible operational error in the use of measuring instruments 2.3 Select and use specialised equipment for the inspection 2.4 Inspect measuring instruments in accordance with appropriate test procedures, legislation, policies and WHS considerations |
| 3. Finalise inspection and take appropriate action | 3.1 Determine and implement the appropriate action to be undertaken as a result of the inspection 3.2 Monitor, identify and report performance trends of particular models of measuring instruments 3.3 Record the information in the organisation’s information system |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Measuring instruments include one or more of the following: | length of measures and measuring instruments area measuring instruments measures of volume liquor measuring instruments liquid measuring instruments weighing instruments milk tanks vehicle tanks liquefied gas flow meters electronic metering systems natural gas flow meters dimensional measuring instruments supplementary measuring instrument auxiliary devices. |
| Monitoring includes one or more of the following: | specific test equipment random inspections surveillance complaint inspection comparison/analysis of data over time collation of statistical information auditing of servicing licensees. |
| Specialised equipment includes one or more of the following: | reference standards safety equipment product handling equipment test equipment specialised test equipment vehicles. |
| Legislation and policies include one or more of the following: | enabling legislation organisational policies and procedures WHS environmental legislation enforcement policies conditions of licence. |
| WHS considerations include one or more of the following: | storage and transportation of test equipment site/premises conditions specific safety equipment and clothing manual handling techniques. |
| Recording information includes one or more of the following: | non-compliance notices reflect/incorrect notices fees organisational reporting forms. |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM15020C Perform verification/certification or in-service inspection.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2