# MEM18045 Fault find and repair electrical equipment/components up to 250 volts single phase supply

Release: 1

MEM18045 Fault find and repair electrical equipment/components up to 250 volts single phase supply

# Modification History

Release 1. Supersedes and is equivalent to MEM18045B Fault find/repair electrical equipment/components up to 250 volts single phase supply

# Application

This unit of competency defines the skills and knowledge required to locate and rectify faults in equipment and components using up to 250 volts single phase power where they are disconnected from their electrical supply and this would also typically cover plug-in appliances.

It also covers basic mechanical disconnection, dismantling and reassembly of equipment components, enclosures and drives.

This unit should not be selected if unit MEM18046 Fault find and repair electrical equipment/components up to 1000 volts a.c./1500 volts d.c. has been selected.

Where disconnection and reconnection of fixed-wired equipment is required unit MEM18049 Disconnect/reconnect fixed wired equipment up to 1000 volts a.c./1500 volts d.c. should also be selected.

Some jurisdictions may require the holder of this unit to be licensed or certified and users should check with the relevant authorities.

Band:	A

Unit Weight:	4

# Pre-requisite Unit

| MEM09002 | Interpret technical drawing |
| --- | --- |
| MEM10002 | Terminate and connect electrical wiring |
| MEM12002 | Perform electrical/electronic measurement |
| MEM12023 | Perform engineering measurements |
| MEM13015 | Work safely and effectively in manufacturing and engineering |
| MEM16006 | Organise and communicate information |
| MEM18001 | Use hand tools |
| MEM18002 | Use power tools/hand held operations |
| MEM18055 | Dismantle, replace and assemble engineering components |

# Competency Field

Maintenance and diagnostics

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, drawings, job sheets or work instructions |
| 2 | Locate fault | 2.1 | Determine equipment/component function by reference to circuit diagrams, schematics, manual and/or consultation with technical adviser |
|  |  | 2.2 | Examine and interpret built-in fault indicators and error codes and record results to procedures, where appropriate |
|  |  | 2.3 | Isolate equipment in accordance with procedures from power supply |
|  |  | 2.4 | Check and test equipment/component using appropriate tools, test equipment, procedures and techniques |
|  |  | 2.5 | Interpret and verify check and test results, where required |
|  |  | 2.6 | Identify, localise and record equipment/component fault in accordance with SOPs |
| 3 | Rectify faults | 3.1 | Repair, replace or adjust equipment/component/s and check and test to specification or manufacturers’ requirements using appropriate tools, equipment and techniques |
|  |  | 3.2 | Record rectifications report in accordance with SOPs |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Components include one (1) or more of the following: | brushes armatures windings relays programmable controllers other electronic switching devices |
| Appropriate fault-finding techniques include: | testing for voltage, current, frequency, polarity, phase, circuit continuity, insulation resistance and earth continuity |
| Test equipment includes one (1) or more of the following: | continuity testers ammeters voltmeters multimeters tong testers wattmeters |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM18045B Fault find/repair electrical equipment/components up to 250 volts single phase supply

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2

Assessment Requirements for MEM18045 Fault find and repair electrical equipment/components up to 250 volts single phase supply

# Modification History

Release 1. Supersedes and is equivalent to MEM18045B Fault find/repair electrical equipment/components up to 250 volts single phase supply

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

identifying and interpreting specifications, charts, lists, circuit drawings, schematics, regulatory and legislative requirements to fault find and repair electrical equipment/components up to 250 volts single phase supply

checking that the electrical equipment/components are isolated and tagged where necessary in strict accordance with work health and safety (WHS) requirements and procedures

locating and reading/recording built-in indicators and error codes

checking and testing electrical components for correct operation and/or compliance with specifications

identifying and localising faults in electrical equipment/components using appropriate fault-finding techniques and test equipment and recording/reporting faults in accordance with SOPs

repairing/replacing or adjusting electrical equipment/components to specifications and selecting replacement parts using manufacturers’ catalogues and data

verifying that the electrical equipment/components are operating to specifications

recording rectification activities in accordance with SOPs.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE)

operation and characteristics of active and passive components

basic motor operation of various types

function of the electrical equipment/component within the circuit

relevant regulatory requirements

electrical equipment/component isolation procedures

test equipment to be used to verify isolation of the electrical equipment/circuit

errors indicated by built-in devices

procedures for:

testing the operation of the electrical equipment/component and tools, equipment and techniques to be used and reasons for selection

localising faults in electrical equipment/components

recording/reporting faults in electrical equipment/components

recording electrical equipment/component rectifications

specifications of the electrical equipment/component

variations between test results and specifications

techniques/procedures and adjustments that can be made for returning the electrical equipment/components to specification.

# Assessment Conditions

Assessors must:

have vocational competency in fault finding/repairing electrical equipment/components up to 250 volts single phase supply at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2