# MEM18045 Fault find and repair electrical equipment/components up to 250 volts single phase supply

Release: 1

MEM18045 Fault find and repair electrical equipment/components up to 250 volts single phase supply

# Modification History

Release 1. Supersedes and is equivalent to MEM18045B Fault find/repair electrical equipment/components up to 250 volts single phase supply

# Application

This unit of competency defines the skills and knowledge required to locate and rectify faults in equipment and components using up to 250 volts single phase power where they are disconnected from their electrical supply and this would also typically cover plug-in appliances.

It also covers basic mechanical disconnection, dismantling and reassembly of equipment components, enclosures and drives.

This unit should not be selected if unit MEM18046 Fault find and repair electrical equipment/components up to 1000 volts a.c./1500 volts d.c. has been selected.

Where disconnection and reconnection of fixed-wired equipment is required unit MEM18049 Disconnect/reconnect fixed wired equipment up to 1000 volts a.c./1500 volts d.c. should also be selected.

Some jurisdictions may require the holder of this unit to be licensed or certified and users should check with the relevant authorities.

Band:	A

Unit Weight:	4

# Pre-requisite Unit

| MEM09002 | Interpret technical drawing |
| --- | --- |
| MEM10002 | Terminate and connect electrical wiring |
| MEM12002 | Perform electrical/electronic measurement |
| MEM12023 | Perform engineering measurements |
| MEM13015 | Work safely and effectively in manufacturing and engineering |
| MEM16006 | Organise and communicate information |
| MEM18001 | Use hand tools |
| MEM18002 | Use power tools/hand held operations |
| MEM18055 | Dismantle, replace and assemble engineering components |

# Competency Field

Maintenance and diagnostics

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, drawings, job sheets or work instructions |
| 2 | Locate fault | 2.1 | Determine equipment/component function by reference to circuit diagrams, schematics, manual and/or consultation with technical adviser |
|  |  | 2.2 | Examine and interpret built-in fault indicators and error codes and record results to procedures, where appropriate |
|  |  | 2.3 | Isolate equipment in accordance with procedures from power supply |
|  |  | 2.4 | Check and test equipment/component using appropriate tools, test equipment, procedures and techniques |
|  |  | 2.5 | Interpret and verify check and test results, where required |
|  |  | 2.6 | Identify, localise and record equipment/component fault in accordance with SOPs |
| 3 | Rectify faults | 3.1 | Repair, replace or adjust equipment/component/s and check and test to specification or manufacturers’ requirements using appropriate tools, equipment and techniques |
|  |  | 3.2 | Record rectifications report in accordance with SOPs |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Components include one (1) or more of the following: | brushes armatures windings relays programmable controllers other electronic switching devices |
| Appropriate fault-finding techniques include: | testing for voltage, current, frequency, polarity, phase, circuit continuity, insulation resistance and earth continuity |
| Test equipment includes one (1) or more of the following: | continuity testers ammeters voltmeters multimeters tong testers wattmeters |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM18045B Fault find/repair electrical equipment/components up to 250 volts single phase supply

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2