# MEM18050 Disconnect/reconnect fixed wired equipment over 1000 volts a.c./1500 volts d.c.

Release: 1

MEM18050 Disconnect/reconnect fixed wired equipment over 1000 volts a.c./1500 volts d.c.

# Modification History

Release 1. Supersedes and is equivalent to MEM18050C Disconnect/reconnect fixed wired equipment over 1000 volts a.c./1500 volts d.c.

# Application

This unit of competency defines the skills and knowledge required to disconnect and reconnect and making safe for maintenance of equipment for all voltage levels above 1000 volts a.c./1500 volts d.c.

Where the selection and use of power tools/hand held operations is required unit MEM18002 Use power tools/hand held operations should also be selected.

Some jurisdictions may require the holder of this unit to be licensed or certified and users should check with the relevant authorities.

### Band:

This unit has dual status and is to be regarded as both a specialisation Band A unit and Specialisation Band B unit for progression to C7 (AQF level IV).

### Unit Weight:	3

# Pre-requisite Unit

| MEM09002 | Interpret technical drawing |
| --- | --- |
| MEM10002 | Terminate and connect electrical wiring |
| MEM12002 | Perform electrical/electronic measurement |
| MEM13015 | Work safely and effectively in manufacturing and engineering |
| MEM16006 | Organise and communicate information |
| MEM18001 | Use hand tools |

# Competency Field

Maintenance and diagnostics

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, drawings, job sheets or work instructions |
| 2 | Disconnect equipment | 2.1 | Determine electrical characteristics of equipment and circuit by reference to circuit drawings, schematics, reference manuals, equipment specifications, identification plate and/or consultation with technical adviser |
|  |  | 2.2 | Determine and record equipment characteristics, including direction of rotation, where appropriate |
|  |  | 2.3 | Identify point/s of electrical isolation and isolate equipment in accordance with procedures |
|  |  | 2.4 | Use all lock-off equipment and signage requirements appropriately |
|  |  | 2.5 | Prove electrical isolation using appropriate techniques, procedures and test equipment |
|  |  | 2.6 | Note, record and label conductor layout |
|  |  | 2.7 | Disconnect conductors and terminate and make safe disconnected cables/connections |
| 3 | Connect equipment | 3.1 | Identify characteristics of the equipment to be connected and determine connection requirements |
|  |  | 3.2 | Check circuit for safe isolation using appropriate test equipment, procedures and techniques |
|  |  | 3.3 | Check connections and prepare conductors for termination |
|  |  | 3.4 | Connect conductors to equipment in accordance with specifications and regulatory requirements |
|  |  | 3.5 | Fasten/seal all cables/wires/conduit to specifications |
|  |  | 3.6 | Remove all lock-off equipment and signage |
|  |  | 3.7 | Check and test equipment and circuit for compliance with specifications and regulatory and legislative requirements |
| 4 | Perform emergency first aid | 4.1 | Assess situation to identify points of danger to the injured person and potential rescuer |
|  |  | 4.2 | Undertake rescue/recovery of injured person or provide assistance to injured person in accordance with recognised standards/procedures |
|  |  | 4.3 | Make contact with the appropriate medical and rescue authorities |
|  |  | 4.4 | Record details of first aid given |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Appropriate techniques and procedures include: | clearances for safe approach as mandated by statutory authorities |
| Electrical isolation includes: | isolating supply for safe disconnection of all electrical power to equipment supply circuit with switch circuit breaker or fuses on circuits/equipment at voltage levels above 1000 volts a.c. and 1500 volts d.c. |
| Test equipment and tools include, in accordance with voltage and fault limiting requirements, one (1) or more of the following: | appropriate proving dead meters high potential testers voltmeters |
| Signage includes one (1) or more of the following: | tags access permit holders restricted access signs |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM18050C Disconnect/reconnect fixed wired equipment over 1000 volts a.c./1500 volts d.c.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2

Assessment Requirements for MEM18050 Disconnect/reconnect fixed wired equipment over 1000 volts a.c./1500 volts d.c.

# Modification History

Release 1. Supersedes and is equivalent to MEM18050C Disconnect/reconnect fixed wired equipment over 1000 volts a.c./1500 volts d.c.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

identifying and interpreting specifications, charts, lists, circuit drawings, schematics, regulatory and legislative requirements to disconnect/reconnect fixed wired equipment over 1000 volts a.c./1500 volts d.c.

checking that the electrical equipment is isolated and tagged where necessary in strict accordance with work health and safety (WHS) requirements and procedures using appropriate lock-off equipment and tags/signs

disconnecting equipment by labelling and recording conductors and making safe disconnected cables/connections using appropriate tools, test equipment, procedures and techniques

confirming isolation prior to reconnecting fixed wired equipment and checking connections and preparing conductors for termination in accordance with manufacturer’s specifications and regulatory requirements

connecting conductors to equipment and fasten/seal cables/wires/conduits using appropriate procedures and tools to relevant specifications and regulatory requirements

inspecting and testing terminated cables to ensure they comply with continuity and insulation resistance requirements and are safely intended for use

removing all lock-off devices and signage and checking/testing equipment and circuits for compliance to specifications

rescuing/recovering of injured person in accordance with appropriate standards/procedures and providing first aid, including contacting the appropriate medical and rescue authorities

recording details of first aid given.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE)

relevant regulatory requirements

characteristics of the circuit and the equipment

point(s) of isolation for the fixed wired equipment and reasons for selecting the particular isolation point(s) and reasons for using earthing, lock-off equipment and signs

clearances from live parts

safe isolation

operational specifications of the fixed wired equipment and connections to be made

procedures, techniques, tools and equipment to be used for:

determining and recording equipment characteristics

isolating the fixed wired equipment and proving electrical isolation

labelling conductors and recording conductor layout

disconnecting conductors

terminating disconnected cables/connections

checking circuits for safe isolation

terminating conductors and checking connections

connecting the conductors to the equipment

fastening and seal the cables, wires and conduits

removing lock-off equipment and signage

checking the operation of the equipment and circuits

checking and testing the compliance of the equipment with specifications

potential dangers/risks associated with work

recognised procedures for the movement and treatment of the injured person, including high voltage (HV) rescue, clearing of airways, care of spinal injuries, treatment of cuts/lesions, burns/scalds and treatment of shock

appropriate local medical and rescue services

procedures for incident reporting.

# Assessment Conditions

Assessors must:

have vocational competency in disconnecting/reconnecting fixed wired equipment over 1000 volts a.c./1500 volts d.c. at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2