# Assessment Requirements for MEM18061 Maintain/calibrate complex control systems

Release: 1

Assessment Requirements for MEM18061 Maintain/calibrate complex control systems

# Modification History

Release 1. Supersedes and is equivalent to MEM18061B Maintain/calibrate complex control systems

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

identifying and interpreting manuals, specifications, software data, historical trends and diagrams, including pneumatic, electrical, electronic and logic diagrams, as well as program listings and configuration data for control system devices pertaining to the system components and operational data

consulting with system operators and other relevant personnel with respect to the control loop characteristics and confirming function/malfunction of the system and/or its components and documenting information obtained

obtaining the necessary work clearances for monitoring and testing of the system

locating, reading and interpreting in-built fault indicators and error codes and identifying faults/defects in control system and comparing and analysing collated data with the operational specifications of the control system

observing the operation of control system, confirming function/malfunction of the system and/or its components

setting up and using test equipment to measure and analyse to ensure correct operation

connecting field test instruments and monitoring and performing diagnostic checks on selected controls and system

checking operational characteristics of control devices, signal conversion instruments and final control elements and using fault-finding techniques, including continuity testing and fault isolation for conformance/non-conformance to specifications

dismantling/assembling and repairing items, including selecting replacement parts from manufacturers’/suppliers’ catalogues, spare parts list or data sheets

performing diagnostic checks and taking corrective action to bring system operation in line with specifications

setting up test and calibration equipment to align control devices and controllers for optimum performance, configuring the system, and aligning multiple control loops in the correct sequence to specifications

adjusting and calibrating control system components by setting up and monitoring recording equipment during the tuning phase to identify the effects of adjustment made on the system

changing system parameters online to meet specified requirements

operating, adjusting and validating the system performance and returning control systems to service

completing all service reports according to SOPs.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE)

specification of each system component

relevant data and/or trends

system components and their function

procedures for:

documenting information

obtaining work clearances

documenting control system tests and analysis

using test equipment

testing system configuration, control system components/elements, testing circuits and control lines

testing and monitoring the operation of selected controls

carrying out diagnostic checks

isolating the control system and its components

marking serviceable items for repair or replacement

dismantling/assembling items for repair or replacement and servicing item(s)

adjusting the system to conform to operational specifications

calibrating the control system components

aligning control devices and configuring the system

tuning controllers, multiple control loops and multi-element systems

recording signals and data during system tuning operations

changing parameters and operating and monitoring a control system

making final adjustments to ensure all control system components conform to specifications

returning to service and reporting/recording requirements

reasons for:

observing the system in operation

selecting the chosen test equipment

identifying the adjustments/maintenance to be carried out

selecting the chosen diagnostic checks

selecting the chosen test and calibration equipment

any deviations/variations from specification

errors indicated by in-built devices

deviations/variations from specification

information for the given system, including:

all individual/multiple element loop device characteristics

controller mode principles

testing methods

calibration methods

adjustment methods

equipment to be used and reasons for selecting the chosen equipment:

required to verify an apparent fault

used to test system configuration

required to undertake maintenance on item(s)

necessary to calibrate the control system components

necessary to carry out the alignment of the control devices

programming tools and techniques to be used

appropriate measuring techniques, tools and equipment

adjustments/maintenance to be carried out

diagnostic checks to be applied to the system to ensure correct operation of the system

fault-finding and performing diagnostic tests to be applied to control devices, signal conversion instruments and final control elements

causes of verified faults and the action to be taken to return the control system/component to specification

appropriate replacement parts

specifications of serviceable item(s)

diagnostic checks to be carried out

specifications of the equipment to be calibrated

alignment specifications

specifications of the controllers

correct sequence of tuning

recording equipment to be used

adjustments that can be made to control system components

effects of those adjustments on the calibration of the control system components

requirements to be achieved by changing system parameters online and level of control to be achieved.

# Assessment Conditions

Assessors must:

have vocational competency in maintaining/calibrating complex control systems at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2