# MEM18061 Maintain/calibrate complex control systems

Release: 1

MEM18061 Maintain/calibrate complex control systems

# Modification History

Release 1. Supersedes and is equivalent to MEM18061B Maintain/calibrate complex control systems

# Application

This unit of competency defines the skills and knowledge required to determine system specification and control loop characteristics, and test, monitor and record system operation.

It applies to localising the fault condition; repairing or replacing faulty condition; calibrating, configuring and adjusting complex control systems; and recommissioning the system.

Where soldering of components is required to advanced or military specifications, where the reliability of electrical connections is critical, or where surface mounted devices are being soldered/desoldered then unit MEM05002 Perform high reliability soldering and desoldering should also be selected.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

Band:	B

Unit Weight:	8

# Pre-requisite Unit

| Path 1 | MEM05001 | Perform manual soldering/desoldering - electrical/electronic components |
| --- | --- | --- |
|  | MEM09002 | Interpret technical drawing |
|  | MEM11011 | Undertake manual handling |
|  | MEM12004 | Perform precision electrical/electronic measurement |
|  | MEM12023 | Perform engineering measurements |
|  | MEM13015 | Work safely and effectively in manufacturing and engineering |
|  | MEM16006 | Organise and communicate information |
|  | MEM18001 | Use hand tools |
|  | MEM18002 | Use power tools/hand held operations |
|  | MEM18054 | Fault find, test and calibrate instrumentation systems and equipment |
|  | MEM18055 | Dismantle, replace and assemble engineering components |
|  | MEM18057 | Maintain/service analog/digital electronic equipment |
|  | MEM18062 | Install, maintain and calibrate instrumentation sensors, transmitters and final control elements |
|  | MEM18069 | Maintain, repair instrumentation process control analysers |
| Path 2 | MEM09002 | Interpret technical drawing |
|  | MEM11011 | Undertake manual handling |
|  | MEM12002 | Perform electrical/electronic measurement |
|  | MEM12023 | Perform engineering measurements |
|  | MEM13015 | Work safely and effectively in manufacturing and engineering |
|  | MEM16006 | Organise and communicate information |
|  | MEM18001 | Use hand tools |
|  | MEM18002 | Use power tools/hand held operations |
|  | MEM18054 | Fault find, test and calibrate instrumentation systems and equipment |
|  | MEM18055 | Dismantle, replace and assemble engineering components |
|  | MEM18064 | Maintain instrumentation system components |
|  | MEM18069 | Maintain, repair instrumentation process control analysers |
| Path 3 | MEM05001 | Perform manual soldering/desoldering - electrical/electronic components |
|  | MEM09002 | Interpret technical drawing |
|  | MEM11011 | Undertake manual handling |
|  | MEM12004 | Perform precision electrical/electronic measurement |
|  | MEM12023 | Perform engineering measurements |
|  | MEM13015 | Work safely and effectively in manufacturing and engineering |
|  | MEM16006 | Organise and communicate information |
|  | MEM18001 | Use hand tools |
|  | MEM18002 | Use power tools/hand held operations |
|  | MEM18054 | Fault find, test and calibrate instrumentation systems and equipment |
|  | MEM18055 | Dismantle, replace and assemble engineering components |
|  | MEM18057 | Maintain/service analog/digital electronic equipment |
|  | MEM18060 | Maintain, repair control instrumentation - single and multiple loop control systems |
|  | MEM18062 | Install, maintain and calibrate instrumentation sensors, transmitters and final control elements |
|  | MEM18067 | Tune control loops - multi controller or multi element systems |
| Path 4 | MEM09002 | Interpret technical drawing |
|  | MEM11011 | Undertake manual handling |
|  | MEM12002 | Perform electrical/electronic measurement |
|  | MEM12023 | Perform engineering measurements |
|  | MEM13015 | Work safely and effectively in manufacturing and engineering |
|  | MEM16006 | Organise and communicate information |
|  | MEM18001 | Use hand tools |
|  | MEM18002 | Use power tools/hand held operations |
|  | MEM18054 | Fault find, test and calibrate instrumentation systems and equipment |
|  | MEM18055 | Dismantle, replace and assemble engineering components |
|  | MEM18060 | Maintain, repair control instrumentation - single and multiple loop control systems |
|  | MEM18062 | Install, maintain and calibrate instrumentation sensors, transmitters and final control elements |
|  | MEM18064 | Maintain instrumentation system components |
|  | MEM18067 | Tune control loops - multi controller or multi element systems |

# Competency Field

Maintenance and diagnostics

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, drawings, job sheets or work instructions |
| 2 | Determine system specifications and control loop characteristics | 2.1 | Examine engineering specifications, technical information and historical records and trends and document relevant data |
|  |  | 2.2 | Obtain, read and interpret system specifications and operational data, including those for multiple loop control systems and devices |
|  |  | 2.3 | Obtain, read and interpret circuit and logic diagrams and configuration data |
|  |  | 2.4 | Consult with system operators and other relevant plant personnel and extract and document relevant data by appropriate means |
|  |  | 2.5 | Obtain appropriate work clearances for monitoring and testing the system |
| 3 | Test, monitor and record system operation | 3.1 | Collect all relevant data by appropriate means from all sources |
|  |  | 3.2 | Analyse fault detection and diagnostic data against predetermined operational specifications, and document conclusions |
|  |  | 3.3 | Observe system operation by applying all individual/multiple element loop device characteristics, controller mode principles, testing, calibration and adjustment methods |
|  |  | 3.4 | Set up and undertake tests using appropriate test equipment in accordance with procedures |
|  |  | 3.5 | Set up and use signal transmission test equipment, where applicable |
|  |  | 3.6 | Determine adjustment/maintenance needs through interpretation and analysis of pneumatic, electrical, electronic, logic diagrams and configuration data for all control system devices |
|  |  | 3.7 | Connect and test field instrumentation for selected control operation, and monitor performance against specifications |
|  |  | 3.8 | Carry out diagnostics checks to ensure correct operation |
|  |  | 3.9 | Undertake fault finding and diagnostic tests on faulty control system components or elements using appropriate equipment, procedures and techniques |
|  |  | 3.10 | Analyse and evaluate fault condition and plan corrective action |
| 4 | Replace faulty items or repair faulty condition | 4.1 | Dismantle faulty items for repair or replacement using appropriate tools, equipment and techniques according to manufacturers’ recommendations |
|  |  | 4.2 | Select replaceable items from manufacturers’ catalogues, spare parts lists or data sheets |
|  |  | 4.3 | Establish correct maintenance procedures for faulty items using manufacturers’ handbooks |
|  |  | 4.4 | Repair faulty items and/or faulty condition, where applicable |
|  |  | 4.5 | Reassemble repaired and replaceable items to meet specifications |
| 5 | Calibrate, configure, adjust complex control systems | 5.1 | Carry out diagnostic checks to ensure correct operation of system and take appropriate corrective action, as necessary |
|  |  | 5.2 | Select/set up calibration and test equipment to enable calibration to manufacturers’ specifications |
|  |  | 5.3 | Undertake mechanical alignment of control devices, where applicable |
|  |  | 5.4 | Configure system using appropriate programming tools and techniques |
|  |  | 5.5 | Perform all relevant alignment procedures for optimum control and in accordance with specifications |
|  |  | 5.6 | Set up recording equipment for adjustment and monitoring during alignment |
|  |  | 5.7 | Perform calibration and adjustment function on multi-loop devices, multi-element control loops, controller modes and actions according to operational specifications using appropriate techniques applicable to the type of control loop being serviced |
|  |  | 5.8 | Make online changes to parameters in the system to meet specified requirements |
|  |  | 5.9 | Connect field instrumentation for selected control operation and system and ensure it is operated to a satisfactory level of control |
| 6 | Return system to service | 6.1 | Undertake final adjustments to align system operation to operational specifications, including process and optimum control efficiencies |
|  |  | 6.2 | Return system to service |
|  |  | 6.3 | Complete service reports in accordance with SOPs |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Control loop includes: | a process of documenting and recording measurements and variables within the process |
| Relevant data includes one (1) or more of the following: | maintenance records fault indicators chart recorders data loggers error codes operational symptoms observation monitoring tests |
| Test equipment includes one (1) or more of the following: | engineering level laser alignments appropriate equipment for the measurement of: alignment flatness squareness straightness temperature vibration load deflection noise level RPM |
| Control system includes one (1) or more of the following: | pneumatic control analog and/or digital electronics distributed programmable logic controller (PLC) distributive control systems (DCS) supervisory control date acquisition (SCADA) computer-based control systems which include supervisory mode |
| Field instrumentation includes: | test and measuring equipment which includes specialised testing fixtures or equipment |
| Control strategies include one (1) or more of the following: | ratio cascade selector duplex feed forward adaptive dynamic compensations computations energy management environmental control/systems |
| Return system to service includes one (1) or more of the following: | configuring calibrating adjusting tuning final validation of system performance |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM18061B Maintain/calibrate complex control systems

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2

Assessment Requirements for MEM18061 Maintain/calibrate complex control systems

# Modification History

Release 1. Supersedes and is equivalent to MEM18061B Maintain/calibrate complex control systems

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

identifying and interpreting manuals, specifications, software data, historical trends and diagrams, including pneumatic, electrical, electronic and logic diagrams, as well as program listings and configuration data for control system devices pertaining to the system components and operational data

consulting with system operators and other relevant personnel with respect to the control loop characteristics and confirming function/malfunction of the system and/or its components and documenting information obtained

obtaining the necessary work clearances for monitoring and testing of the system

locating, reading and interpreting in-built fault indicators and error codes and identifying faults/defects in control system and comparing and analysing collated data with the operational specifications of the control system

observing the operation of control system, confirming function/malfunction of the system and/or its components

setting up and using test equipment to measure and analyse to ensure correct operation

connecting field test instruments and monitoring and performing diagnostic checks on selected controls and system

checking operational characteristics of control devices, signal conversion instruments and final control elements and using fault-finding techniques, including continuity testing and fault isolation for conformance/non-conformance to specifications

dismantling/assembling and repairing items, including selecting replacement parts from manufacturers’/suppliers’ catalogues, spare parts list or data sheets

performing diagnostic checks and taking corrective action to bring system operation in line with specifications

setting up test and calibration equipment to align control devices and controllers for optimum performance, configuring the system, and aligning multiple control loops in the correct sequence to specifications

adjusting and calibrating control system components by setting up and monitoring recording equipment during the tuning phase to identify the effects of adjustment made on the system

changing system parameters online to meet specified requirements

operating, adjusting and validating the system performance and returning control systems to service

completing all service reports according to SOPs.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE)

specification of each system component

relevant data and/or trends

system components and their function

procedures for:

documenting information

obtaining work clearances

documenting control system tests and analysis

using test equipment

testing system configuration, control system components/elements, testing circuits and control lines

testing and monitoring the operation of selected controls

carrying out diagnostic checks

isolating the control system and its components

marking serviceable items for repair or replacement

dismantling/assembling items for repair or replacement and servicing item(s)

adjusting the system to conform to operational specifications

calibrating the control system components

aligning control devices and configuring the system

tuning controllers, multiple control loops and multi-element systems

recording signals and data during system tuning operations

changing parameters and operating and monitoring a control system

making final adjustments to ensure all control system components conform to specifications

returning to service and reporting/recording requirements

reasons for:

observing the system in operation

selecting the chosen test equipment

identifying the adjustments/maintenance to be carried out

selecting the chosen diagnostic checks

selecting the chosen test and calibration equipment

any deviations/variations from specification

errors indicated by in-built devices

deviations/variations from specification

information for the given system, including:

all individual/multiple element loop device characteristics

controller mode principles

testing methods

calibration methods

adjustment methods

equipment to be used and reasons for selecting the chosen equipment:

required to verify an apparent fault

used to test system configuration

required to undertake maintenance on item(s)

necessary to calibrate the control system components

necessary to carry out the alignment of the control devices

programming tools and techniques to be used

appropriate measuring techniques, tools and equipment

adjustments/maintenance to be carried out

diagnostic checks to be applied to the system to ensure correct operation of the system

fault-finding and performing diagnostic tests to be applied to control devices, signal conversion instruments and final control elements

causes of verified faults and the action to be taken to return the control system/component to specification

appropriate replacement parts

specifications of serviceable item(s)

diagnostic checks to be carried out

specifications of the equipment to be calibrated

alignment specifications

specifications of the controllers

correct sequence of tuning

recording equipment to be used

adjustments that can be made to control system components

effects of those adjustments on the calibration of the control system components

requirements to be achieved by changing system parameters online and level of control to be achieved.

# Assessment Conditions

Assessors must:

have vocational competency in maintaining/calibrating complex control systems at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2