# Assessment Requirements for MEM18064 Maintain instrumentation system components

Release: 1

Assessment Requirements for MEM18064 Maintain instrumentation system components

# Modification History

Release 1. Supersedes and is equivalent to MEM18064B Maintain instrumentation system components

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

identifying and interpreting instrumentation circuits, specifications, drawings, data sheets and manuals and obtaining relevant data with respect to the operation of the instrumentation systems/equipment

locating, inspecting and testing a range of instrumentation system components using appropriate test equipment, techniques and procedures

fault finding components and confirming malfunction by inspection and testing using instrumentation principles and procedures

dismantling/repairing/reassembling faulty components and sourcing replacement parts from manufacturer/supplier catalogues

checking repaired/replaced instrumentation system components for correct operation and completing all service reports in accordance with SOPs

undertaking zero, span and range checks and calibrating instrumentation systems/equipment to operational specifications

recording/documenting test results in accordance with SOPs.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE)

instrumentation principles, including controlling density, level, flow, temperature and composition of a range of materials

effects of resistance, capacitance, inductance and impedance (R, L, C) upon electrical circuit

interpretation requirements of schematic, wiring and block diagrams and circuits

basic principles of hydraulic/pneumatic/electrical flow

procedures for:

inspecting and testing instrumentation system components and equipment to be used

dismantling, repairing, reassembling and testing faulty instrumentation system components

recording and completing service reports

purpose, operational function and specifications, including deviations of instrumentation system components

correct operation of the instrumentation system.

# Assessment Conditions

Assessors must:

have vocational competency in maintaining instrumentation system components at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2