# MEM18067 Tune control loops - multi controller or multi element systems

Release: 1

MEM18067 Tune control loops - multi controller or multi element systems

# Modification History

Release 1. Supersedes and is equivalent to MEM18067B Tune control loops – multi controller or multi-element systems

# Application

This unit of competency defines the skills and knowledge required to determine and record control loop responses in open and closed loop modes, tune control loops and complete service records.

Included is the application of step response (open loop tuning calculations and closed loop ultimate sensitivity trials) to achieve specified loop characteristics in conformance to operational specifications.

Where fault-finding is required to electronic component level unit MEM18056 Diagnose and repair analog equipment and components should also be selected.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

### Band: B

### Unit Weight:	6

# Pre-requisite Unit

| MEM09002 | Interpret technical drawing |
| --- | --- |
| MEM11011 | Undertake manual handling |
| MEM12023 | Perform engineering measurements |
| MEM13015 | Work safely and effectively in manufacturing and engineering |
| MEM16006 | Organise and communicate information |
| MEM18001 | Use hand tools |
| MEM18002 | Use power tools/hand held operations |
| MEM18054 | Fault find, test and calibrate instrumentation systems and equipment |
| MEM18055 | Dismantle, replace and assemble engineering components |
| Plus, one or more of the following, including their prerequisites: |  |
| MEM18062 | Install, maintain and calibrate instrumentation sensors, transmitters and final control elements |
| MEM18064 | Maintain instrumentation system components |

# Competency Field

Maintenance and diagnostics

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, drawings, job sheets or work instructions |
| 2 | Determine control loop characteristics | 2.1 | Examine engineering specifications, technical information and historical process, records and trends for relevant data |
|  |  | 2.2 | Carry out consultation with system operators and other relevant plant personnel and extract relevant data and document to procedures |
|  |  | 2.3 | Read programmed maintenance/service reports and note relevant data |
|  |  | 2.4 | Analyse data and ascertain control loop characteristics |
| 3 | Record control loop responses | 3.1 | Record control loop responses in open and closed loop mode using chart recorders and data loggers |
|  |  | 3.2 | Test unit for tuning using appropriate diagnostic techniques |
|  |  | 3.3 | Analyse diagnostic results against specifications |
| 4 | Tune control loops | 4.1 | Perform tuning operations by applying control loop device characteristics, controller mode principles and adjustment methods using appropriate equipment, procedures and techniques |
|  |  | 4.2 | Monitor and adjust control loop components during controller tuning operation using test recording equipment |
|  |  | 4.3 | Apply step response – open loop tuning calculations to achieve specified loop characteristics |
|  |  | 4.4 | Use closed loop tuning methods incorporating ultimate sensitivity and systematic trials to achieve specified loop characteristics |
|  |  | 4.5 | Use correct sequence of tuning on multi controllers and/or multi element systems to achieve specified characteristics |
|  |  | 4.6 | Tune control loops to optimum mode settings |
|  |  | 4.7 | Recommission process control loop to specifications |
| 5 | Complete service reports | 5.1 | Adopt appropriate follow-up procedures |
|  |  | 5.2 | Complete service reports according to SOPs |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Historical trends include one (1) or more of the following: | supervisory control and data acquisition (SCADA) charts chart recorders and data loggers equipment conditioning monitoring |
| An open and closed loop system includes: | final control elements process measuring devices converters controllers process signals |
| Test and recording equipment for the monitoring and adjustment of control loop tuning includes the use of one (1) or more of the following: | pneumatic analog electronic digital electronic |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM18067B Tune control loops – multi controller or multi-element systems

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2