# Assessment Requirements for MEM18084 Commission and decommission split air conditioning systems

Release: 1

Assessment Requirements for MEM18084 Commission and decommission split air conditioning systems

# Modification History

Release 1. Supersedes and is equivalent to MEM18084A Commission and decommission split air conditioning systems

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

identifying and interpreting charts, lists, catalogues, specifications, legislative and industry requirements and drawings and obtaining relevant data with respect to commissioning and decommissioning split air conditioning systems

checking system for correct operation using appropriate tools, techniques and equipment and comparing system and component performance/operation against specifications

isolating circuit and appliances in strict accordance with work health and safety (WHS) requirements and procedures, where necessary

identifying faulty components and non-compliances using appropriate tools, equipment and testing

removing, containing and adding refrigerant safely in compliance with relevant Australian Standards or codes and regulations

pressure and leak testing split air conditioning systems at a pressure compatible with the refrigerant to be used and locating leaks, isolating and applying appropriate repairs, adjustments or remedial action to achieve specifications

completing commissioning procedures, including undertaking final inspection, instructing the client and completing certificates of compliance and other relevant commissioning documentation and processes

decommissioning split air conditioning – single head systems using sustainable environmental practices

completing all relevant commissioning and decommissioning documentation in accordance with state/territory regulatory requirements.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE)

applicable legislative and regulatory requirements, standards, codes, licensing requirements and sustainable environmental practices for commissioning and decommissioning systems

applicable procedures and legislative requirements for storage, handling and treatment of ozone depleting and synthetic greenhouse gas refrigerant

applicable procedures for working with R32 and other flammable refrigerants where used in split air conditioning systems

typical work environments, demands and considerations

specifications, operational characteristics and process for identifying system components

typical problems, contingencies and solutions

applicable tools, equipment and testing devices and their operation

procedures for determining the actual and specified range of operating conditions from measured and calculated values as they apply to particular vapour compression systems

procedures for evacuating system, leak testing, adding refrigerant and checking air flow

requirements and procedures to isolate circuits/appliances

measuring instruments/equipment, specifications and procedures for checking temperature, system performance and components

process for identifying refrigerant type

types of commissioning documentation

requirements and procedures for reporting non-compliances completing documentation.

# Assessment Conditions

Assessors must:

have vocational competency in commissioning and decommissioning split air conditioning systems at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2