# MEM18088 Maintain and repair commercial air conditioning systems and components

Release: 1

MEM18088 Maintain and repair commercial air conditioning systems and components

# Modification History

Release 1. Supersedes and is equivalent to MEM18088B Maintain and repair commercial air conditioning systems and components

# Application

This unit of competency defines the skills and knowledge required to maintain and repair commercial air conditioning systems and components.

It applies to commercial air conditioning systems and components, including heating systems, direct expansion refrigeration systems, and/or simple air distribution systems; typically used for comfort air conditioning and also applies to retrofitting existing commercial air conditioning systems with alternative refrigerants and reconditioning components.

A Refrigerant Handling Licence must be held by any person who carries out work in relation to refrigeration and air conditioning equipment.

Band:	A

Unit Weight:	4

# Pre-requisite Unit

| MEM09002 | Interpret technical drawing |
| --- | --- |
| MEM11011 | Undertake manual handling |
| MEM12002 | Perform electrical/electronic measurement |
| MEM12023 | Perform engineering measurements |
| MEM12024 | Perform computations |
| MEM13015 | Work safely and effectively in manufacturing and engineering |
| MEM14006 | Plan work activities |
| MEM16006 | Organise and communicate information |
| MEM18001 | Use hand tools |
| MEM18002 | Use power tools/hand held operations |
| MEM18055 | Dismantle, replace and assemble engineering components |
| MEM18086 | Test, recover, evacuate and charge refrigeration systems |

# Competency Field

Maintenance and diagnostics

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, drawings, job sheets or work instructions |
| 2 | Undertake preventive maintenance checks/ adjustments | 2.1 | Check the temperature, quality, properties and flow of air delivered by the air conditioning system for conformance to specification |
|  |  | 2.2 | Check the noise/vibration levels of the air conditioning system components for conformance to specification |
|  |  | 2.3 | Perform preventative maintenance tasks according to manufacturers’ specifications using refrigeration and air conditioning principles and techniques |
| 3 | Undertake fault-finding | 3.1 | Identify system components |
|  |  | 3.2 | Interpret the characteristics and operation of each component |
|  |  | 3.3 | Inspect and test the operational function of each component and assess correct operation against specification |
| 4 | Repair/replace faulty components | 4.1 | Localise faulty components and confirm malfunction |
|  |  | 4.2 | Remove the refrigerant from the system safely and contain in accordance with procedures and regulatory requirements, where appropriate |
|  |  | 4.3 | Dismantle faulty components and repair to manufacturers’ specifications, as required |
|  |  | 4.4 | Select replacement parts from manufacturers’ catalogues |
| 5 | Return to service commercial air conditioning systems and components | 5.1 | Reassemble components and test for correct operation and assess against specification |
|  |  | 5.2 | Charge the system with correct refrigerant safely and in accordance with procedures and regulatory requirements |
|  |  | 5.3 | Verify correct operation of the equipment |
|  |  | 5.4 | Complete maintenance records/service reports according to SOPs and legislative requirements |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Test equipment includes one (1) or more of the following: | service manifolds measuring instruments/equipment for checking: air temperatures air flows air quality air properties noise and vibration levels multimeter ampmeter insulation resistance tester |
| Preventative maintenance tasks include one (1) or more of the following: | check/adjust fan belts check/clean filters check/clean heat exchangers (evaporator and condenser) overhaul of major system components cleaning of major system components testing operation of all safety devices |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM18088B Maintain and repair commercial air conditioning systems and components

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2