# Assessment Requirements for MEM18090 Maintain and repair industrial refrigeration systems and components

Release: 1

Assessment Requirements for MEM18090 Maintain and repair industrial refrigeration systems and components

# Modification History

Release 1. Supersedes and is equivalent to MEM18090B Maintain and repair industrial refrigeration systems and components

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions, on at least two (2) systems, and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

identifying and interpreting charts, lists, catalogues, specifications, drawings and relevant legislation with respect to maintaining and repairing industrial refrigeration systems and components

checking the temperature and properties of controlled mediums for conformance with specifications

carrying out preventative maintenance tasks according to manufacturers’ specifications using refrigeration techniques/practices

checking components for correct operation using appropriate tools, techniques and test equipment and assessing component performance/operation against specifications

identifying and localising faulty components and confirming malfunction by inspection/testing, and making required adjustments to achieve specifications

removing the refrigerant from the system and containing in accordance with procedures and regulatory requirements

removing/dismantling and reassembling faulty components and selecting replacement parts from manufacturers’ catalogues to meet the required specifications

undertaking calculations and numerical operations associated with maintaining and repairing industrial refrigeration systems and components

charging the system and verifying correct operation of the equipment to meet specifications

completing all maintenance records/reports in accordance with SOPs.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE)

measuring instruments/equipment, specifications and procedures for checking temperatures

properties of controlled mediums

measuring instruments/equipment, specifications and procedures for checking components noise and vibration levels

tools, equipment, techniques and procedures for performing preventative maintenance on air conditioning systems and sequence of implementation

procedures for safely removing the refrigerant and charging the system and all legislative and regulatory requirements

tools, equipment, techniques and procedures for dismantling, repairing, reassembling and testing components

specifications, operational characteristics and process for identifying system components

process for localising and confirming faulty components

procedures for completing maintenance records/service reports and reporting non-conformances.

# Assessment Conditions

Assessors must:

have vocational competency in maintaining and repairing industrial refrigeration systems and components at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2