# MEM18092 Maintain and repair commercial and/or industrial refrigeration and/or air conditioning controls

Release: 1

MEM18092 Maintain and repair commercial and/or industrial refrigeration and/or air conditioning controls

# Modification History

Release 1. Supersedes and is equivalent to MEM18092B Maintain and repair commercial and/or industrial refrigeration and/or air conditioning controls

# Application

This unit of competency defines the skills and knowledge required to repair or replace commercial and/or industrial refrigeration and/or commercial air conditioning controls.

This unit applies to the installation, adjustment, repairs, replacements and overhauls undertaken to site or manufacturers’ specifications, using application of principles of domestic refrigeration and/or commercial air conditioning control sequencing.

A Refrigerant Handling Licence must be held by any person who carries out work in relation to refrigeration and air conditioning equipment.

### Band: B

### Unit Weight:	6

# Pre-requisite Unit

| MEM09002 | Interpret technical drawing |
| --- | --- |
| MEM11011 | Undertake manual handling |
| MEM12002 | Perform electrical/electronic measurement |
| MEM12023 | Perform engineering measurements |
| MEM12024 | Perform computations |
| MEM13015 | Work safely and effectively in manufacturing and engineering |
| MEM14006 | Plan work activities |
| MEM16006 | Organise and communicate information |
| MEM18001 | Use hand tools |
| MEM18002 | Use power tools/hand held operations |
| MEM18055 | Dismantle, replace and assemble engineering components |
| MEM18086 | Test, recover, evacuate and charge refrigeration systems |
| Plus, one or more of the following, including their prerequisites: |  |
| MEM18088 | Maintain and repair commercial air conditioning systems and components |
| MEM18090 | Maintain and repair industrial refrigeration systems and components |

# Competency Field

Maintenance and diagnostics

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, drawings, job sheets or work instructions |
| 2 | Install/replace refrigeration/air conditioning controls | 2.1 | Identify control circuit components and inspect for compliance to specification |
|  |  | 2.2 | Undertake sequential installation according to manufacturers’ specifications and procedures |
| 3 | Check and adjust refrigeration/air conditioning control sequence and operation | 3.1 | Check the temperature, quality, pressure and properties of the air delivered by the air conditioning system for conformance to specification |
|  |  | 3.2 | Check controls operation against operational specifications using appropriate test equipment and application principles/techniques |
|  |  | 3.3 | Perform adjustments to control sequence to meet/align to operational requirements and specifications |
|  |  | 3.4 | Record modifications/alterations and report according to SOPs |
|  |  | 3.5 | Check controls operation and return to service to specification |
| 4 | Fault find refrigeration/air conditioning control circuits | 4.1 | Identify and inspect control circuit components |
|  |  | 4.2 | Trace control circuit and diagnose action of components to identify and localise faults |
|  |  | 4.3 | Test control circuit parts using appropriate test equipment and application principles |
|  |  | 4.4 | Assess control circuit parts against operational specification |
|  |  | 4.5 | Localise fault condition at the component level, evaluate faulty condition, analyse root cause and plan corrective action |
| 5 | Maintain, repair/replace control components | 5.1 | Apply correct maintenance procedures according to procedures |
|  |  | 5.2 | Use appropriate tools, equipment and techniques to test faulty items and repair or replace using sequential installation procedures according to manufacturers’ specifications |
|  |  | 5.3 | Select replacement items from manufacturers’ catalogues |
|  |  | 5.4 | Reassemble control components according to specification |
| 6 | Check and adjust sequence of refrigeration/air conditioning controls | 6.1 | Identify sensors and controllers |
|  |  | 6.2 | Make necessary adjustments to sequence control circuit and check correct operation to meet operational specification |
|  |  | 6.3 | Return refrigeration/air conditioning controls to service to specification |
|  |  | 6.4 | Adopt appropriate follow-up procedures |
|  |  | 6.5 | Complete service/maintenance report in accordance with SOPs |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Control sequencing includes one (1) or more of the following: | programmable logic controllers (PLCs) relay logic control systems unitised/modular sensors transducers timers counters associated equipment |
| Test equipment includes one (1) or more of the following: | pressure gauges multimeters ampmeters insulation resistance tester cable analyser |
| Modifications/alterations include (1) one or more of the following: | pressure control settings timer settings thermostat settings |
| Corrective action includes one (1) or more of the following: | replacement repair adjustment |
| Maintenance procedures include the following: | overhaul of major system components cleaning of major system components testing operation of all control and safety devices |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM18092B Maintain and repair commercial and/or industrial refrigeration and/or air conditioning controls

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2

Assessment Requirements for MEM18092 Maintain and repair commercial and/or industrial refrigeration and/or air conditioning controls

# Modification History

Release 1. Supersedes and is equivalent to MEM18092B Maintain and repair commercial and/or industrial refrigeration and/or air conditioning controls

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions, on at least two (2) systems, and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

identifying and interpreting charts, lists, catalogues, specifications, drawings and relevant legislation with respect to maintaining and repairing commercial and/or industrial and/or air conditioning controls

selecting and using appropriate tools, techniques and equipment necessary to check commercial and/or industrial and/or air conditioning controls for conformance against specifications

checking and performing adjustments to control sequence using appropriate test equipment meeting/aligning to operational requirements and specifications

recording any modifications complying with manufacturers’ specifications and making all changes to on-site drawings/documents and documenting in accordance with SOPs

testing and assessing control circuit parts using appropriate test equipment and application principles against operational specifications

performing maintenance procedures, including overhauling and cleaning of major system components, and testing of all control and safety devices to specifications

identifying and localising faulty components and confirming malfunction by inspection/testing, and making required adjustments to achieve specifications

undertaking calculations and numerical operations associated with maintaining and repairing commercial and/or industrial and/or air conditioning controls

removing/dismantling and reassembling faulty control components and selecting replacement parts from manufacturers’ catalogues to meet the required specifications

checking and adjusting sequence control circuit to meet operational specifications and confirming correct operation

returning refrigeration/air conditioning controls to service and adopting appropriate follow-up procedures

completing all service/maintenance reports in accordance with SOPs.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE)

refrigeration/air conditioning system operational requirements and specifications

application of common system/circuit components and controllers

importance of following installation procedures in terms of control operation, safety and reliability

measuring instruments/equipment and specifications for checking air temperatures, air flows, air quality and air properties

tools, equipment, techniques and procedures for rectifying faulty conditions and components

procedures for returning to service and commissioning refrigeration/air conditioning control systems

operational sequence of the system

typical adjustments to correct sequencing variations from specification

typical causes of component failure

maintenance requirements

codes and regulations relevant to the refrigeration/air conditioning industry, including environmental and ozone and greenhouse substance legislation

procedures for reporting/recording modifications/alterations maintenance and reporting non-conformances.

# Assessment Conditions

Assessors must:

have vocational competency in maintaining and repairing commercial and/or industrial refrigeration and/or air conditioning controls at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2