# MEM18094 Service and repair commercial refrigeration

Release: 1

MEM18094 Service and repair commercial refrigeration

# Modification History

Release 1. Supersedes and is equivalent to MEM18094B Service and repair commercial refrigeration

# Application

This unit of competency defines the skills and knowledge required to service and repair commercial and supermarket equipment and components.

It applies to supermarket, retail, wholesale and other commercial applications and can include retrofitting alternative refrigerants in existing equipment.

Where the removal and replacement of components by brazing and/or silver soldering is required unit MEM05006 Perform brazing and/or silver soldering should also be selected.

Where detailed maintenance on control systems is required unit MEM18057 Maintain/service analog/digital electronic equipment should also be selected.

A Refrigerant Handling Licence must be held by any person who carries out work in relation to refrigeration and air conditioning equipment.

Band:	A

Unit Weight:	6

# Pre-requisite Unit

| MEM09002 | Interpret technical drawing |
| --- | --- |
| MEM10002 | Terminate and connect electrical wiring |
| MEM11011 | Undertake manual handling |
| MEM12002 | Perform electrical/electronic measurement |
| MEM12023 | Perform engineering measurements |
| MEM13015 | Work safely and effectively in manufacturing and engineering |
| MEM16006 | Organise and communicate information |
| MEM18001 | Use hand tools |
| MEM18002 | Use power tools/hand held operations |
| MEM18049 | Disconnect/reconnect fixed wired equipment up to 1000 volts a.c./1500 volts d.c. |
| MEM18055 | Dismantle, replace and assemble engineering components |
| MEM18086 | Test, recover, evacuate and charge refrigeration systems |

# Competency Field

Maintenance and diagnostics

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, drawings, job sheets or work instructions |
| 2 | Undertake preventive maintenance checks/adjustments | 2.1 | Carry out visual inspection and testing with appropriate test equipment according to refrigeration principles, procedures and safety requirements |
|  |  | 2.2 | Perform preventative maintenance tasks according to manufacturers’ specifications |
| 3 | Undertake fault finding on commercial refrigeration equipment | 3.1 | Identify equipment components |
|  |  | 3.2 | Interpret the characteristics and operation of each component |
|  |  | 3.3 | Inspect and test the operational function of each component and assess correct operation against specifications |
| 4 | Repair/replace commercial refrigeration components | 4.1 | Localise faulty components and confirm malfunction |
|  |  | 4.2 | Remove the refrigerant safely from the system and contain in accordance with procedures and regulatory requirements, where appropriate |
|  |  | 4.3 | Dismantle faulty components and repair to manufacturers’ specifications, as required |
|  |  | 4.4 | Select replacement parts from manufacturers’ catalogues |
| 5 | Return to service commercial refrigeration equipment | 5.1 | Reassemble components and test for correct operation and assess against specification |
|  |  | 5.2 | Charge the system safely with correct refrigerant and in accordance with procedures and regulatory requirements, where appropriate |
|  |  | 5.3 | Verify correct operation of the equipment |
|  |  | 5.4 | Complete maintenance records/service reports according to SOPs and legislative requirements |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Test equipment includes one (1) or more of the following: | multimeter ammeter insulation resistance tester refrigeration gauge set vacuum pump service gauges thermometer |
| Preventative maintenance tasks include one (1) or more of the following: | overhaul of major system components cleaning of major system components test operation of all safety devices |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM18094B Service and repair commercial refrigeration

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2