# MEM18098 Prepare to perform work associated with fuel system installation and servicing

Release: 1

MEM18098 Prepare to perform work associated with fuel system installation and servicing

# Modification History

Release 1. Supersedes and is equivalent to MEM18098A Prepare to perform work associated with fuel system installation and servicing

# Application

This unit of competency defines the skills and knowledge required to prepare for work associated with fuel system installation and servicing.

It applies to personnel who install or service fuel systems and equipment. They will typically undertake this in a service station forecourt which may be operational or be shut down for refurbishment or under construction.

Where the selection and use of engineering measurement is required unit MEM12023 Perform engineering measurements should also be selected.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

Band:	A

Unit weight:	2

# Pre-requisite Unit

| MEM09002 | Interpret technical drawing |
| --- | --- |
| MEM11011 | Undertake manual handling |
| MEM13015 | Work safely and effectively in manufacturing and engineering |
| MEM16006 | Organise and communicate information |

# Competency Field

Maintenance and diagnostics

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, drawings, job sheets or work instructions |
| 2 | Plan and prepare for installation or servicing task | 2.1 | Clarify job requirements and variations to work plan and take appropriate action |
|  |  | 2.2 | Obtain required work permits |
|  |  | 2.3 | Identify and comply with emergency and safety procedures for worksite |
| 3 | Confirm location and nature of key fuel system components | 3.1 | Identify and locate above and below ground storage components |
|  |  | 3.2 | Identify and locate fuel conveying, pumps and dispensing systems |
|  |  | 3.3 | Confirm location of fuel system components with site plan |
|  |  | 3.4 | Identify and report any hazards and/or inconsistencies with site plan, equipment drawings and regulatory requirements |
| 4 | Assess and manage risks associated with the work | 4.1 | Identify fuels and other hazardous materials and other hazards on site |
|  |  | 4.2 | Identify and confirm shut-off procedures, details of evacuation plan and location of emergency equipment |
|  |  | 4.3 | Assess hazards and determine risks and apply appropriate control measures to control risks |
|  |  | 4.4 | Select appropriate tools and equipment to be used on the job |
|  |  | 4.5 | Identify nature and location of required isolations |
|  |  | 4.6 | Determine the type of, and appropriate locations for, barriers to prevent unauthorised access to the work location and put them in place before job commencement |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Work permits include one (1) or more of the following: | permits issued by client permits using the Australian Institute of Petroleum (AIP) form other work documents required for the job hot work cold work confined space excavation working at heights |
| Emergency and safety procedures for worksite include one (1) or more of the following: | specific procedures for that site location of emergency shut-off and procedures for re-setting emergency shut-off dealing with spills or other losses in containment fire response other incident response procedures for that site other site-specific hazards and procedures |
| Storage components include one (1) or more of the following: | single wall tanks jacketed steel tanks double-walled tanks (dry and liquid filled interstitial space) fibre composite (FRP) tanks high density polyethylene (HDPE) tanks |
| Fuel conveying systems include one (1) or more of the following: | steel pipes HDPE pipes vapour recovery systems and pipes pipe joining |
| Pumps and pump systems include one (1) or more of the following: | centrifugal pumps positive displacement pumps pressure and suction systems pumping problems multiproduct pumps |
| Dispensing systems include one (1) or more of the following: | fuel metering hoses and nozzles stage two vapour recovery flow control valves discharge control multiproduct dispensers |
| Corrosion protection systems and components include one (1) or more of the following: | cathodic protection, including: impressed current sacrificial anode wrapping coating |
| Fuels include one (1) or more of the following: | petrol ethanol blend fuels (of various concentrations) diesel and biodiesel liquefied petroleum gas (LPG) |
| Hazardous materials include one (1) or more of the following: | ‘solid’ pool chlorine (calcium hypochlorite) ‘liquid’ pool chlorine (sodium hypochlorite solutions) lubricants cleaning agents gas bottles workshop materials |
| Appropriate tools include: | tools that are: intrinsically safe ergonomically appropriate to the job safe and in good condition |
| Required isolations include one (1) or more of the following: | lock out/tag out double block and bleed use of blanks, blinds and goggles removal of spool piece removal of mechanical drives |
| Barriers include one (1) or more of the following: | temporary fencing bollards witches hats tapes signage |
| Problems include one (1) or more of the following: | variations to the work schedule variations to the work scope issues with the public or site personnel failure of equipment inappropriate/incomplete permit or work instructions |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM18098A Prepare to perform work associated with fuel system installation and servicing

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2

Assessment Requirements for MEM18098 Prepare to perform work associated with fuel system installation and servicing

# Modification History

Release 1. Supersedes and is equivalent to MEM18098A Prepare to perform work associated with fuel system installation and servicing

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

obtaining relevant work permits and other work documents required for the job

identifying and complying with emergency and safety procedures relevant to the site

identifying types of fuel and their associated hazards

identifying fuel delivery systems and their associated hazards, including pressure, suction, flammability, explosive potential, toxicity and static electricity

determining appropriate control measures using hierarchy of control and identifying support and assistance requirements and establishing plan for the performance of work

applying any state/territory licensing, work health and safety (WHS) and environmental legislation, standards and industry codes of practice

relating to people from a range of social, cultural and ethnic backgrounds and of varying physical and mental abilities.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE)

types of fuels and their associated hazards

fuel delivery systems and associated hazards, including pressure, suction, flammability, explosive potential, toxicity and static electricity

dangerous goods classification and labelling

storage and handling of dangerous goods

suction/pressure systems

first stage vapour recovery systems

second stage vapour recovery systems

pumps and pumping principles and problems

fuel dispensing and metering systems

interpretation of permits, site maps and hazard maps

regulatory requirements, including licensing, WHS and environmental regulations.

# Assessment Conditions

Assessors must:

have vocational competency in preparing to perform work associated with fuel system installation and servicing at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2