# MEM18098 Prepare to perform work associated with fuel system installation and servicing

Release: 1

MEM18098 Prepare to perform work associated with fuel system installation and servicing

# Modification History

Release 1. Supersedes and is equivalent to MEM18098A Prepare to perform work associated with fuel system installation and servicing

# Application

This unit of competency defines the skills and knowledge required to prepare for work associated with fuel system installation and servicing.

It applies to personnel who install or service fuel systems and equipment. They will typically undertake this in a service station forecourt which may be operational or be shut down for refurbishment or under construction.

Where the selection and use of engineering measurement is required unit MEM12023 Perform engineering measurements should also be selected.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

Band:	A

Unit weight:	2

# Pre-requisite Unit

| MEM09002 | Interpret technical drawing |
| --- | --- |
| MEM11011 | Undertake manual handling |
| MEM13015 | Work safely and effectively in manufacturing and engineering |
| MEM16006 | Organise and communicate information |

# Competency Field

Maintenance and diagnostics

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Determine job requirements | 1.1 | Follow standard operating procedures (SOPs) |
|  |  | 1.2 | Comply with work health and safety (WHS) requirements at all times |
|  |  | 1.3 | Use appropriate personal protective equipment (PPE) in accordance with SOPs |
|  |  | 1.4 | Identify job requirements from specifications, drawings, job sheets or work instructions |
| 2 | Plan and prepare for installation or servicing task | 2.1 | Clarify job requirements and variations to work plan and take appropriate action |
|  |  | 2.2 | Obtain required work permits |
|  |  | 2.3 | Identify and comply with emergency and safety procedures for worksite |
| 3 | Confirm location and nature of key fuel system components | 3.1 | Identify and locate above and below ground storage components |
|  |  | 3.2 | Identify and locate fuel conveying, pumps and dispensing systems |
|  |  | 3.3 | Confirm location of fuel system components with site plan |
|  |  | 3.4 | Identify and report any hazards and/or inconsistencies with site plan, equipment drawings and regulatory requirements |
| 4 | Assess and manage risks associated with the work | 4.1 | Identify fuels and other hazardous materials and other hazards on site |
|  |  | 4.2 | Identify and confirm shut-off procedures, details of evacuation plan and location of emergency equipment |
|  |  | 4.3 | Assess hazards and determine risks and apply appropriate control measures to control risks |
|  |  | 4.4 | Select appropriate tools and equipment to be used on the job |
|  |  | 4.5 | Identify nature and location of required isolations |
|  |  | 4.6 | Determine the type of, and appropriate locations for, barriers to prevent unauthorised access to the work location and put them in place before job commencement |

# Foundation Skills

This section describes those required skills (reading, writing, oral communication and numeracy) that are essential to workplace performance in this unit of competency.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Work permits include one (1) or more of the following: | permits issued by client permits using the Australian Institute of Petroleum (AIP) form other work documents required for the job hot work cold work confined space excavation working at heights |
| Emergency and safety procedures for worksite include one (1) or more of the following: | specific procedures for that site location of emergency shut-off and procedures for re-setting emergency shut-off dealing with spills or other losses in containment fire response other incident response procedures for that site other site-specific hazards and procedures |
| Storage components include one (1) or more of the following: | single wall tanks jacketed steel tanks double-walled tanks (dry and liquid filled interstitial space) fibre composite (FRP) tanks high density polyethylene (HDPE) tanks |
| Fuel conveying systems include one (1) or more of the following: | steel pipes HDPE pipes vapour recovery systems and pipes pipe joining |
| Pumps and pump systems include one (1) or more of the following: | centrifugal pumps positive displacement pumps pressure and suction systems pumping problems multiproduct pumps |
| Dispensing systems include one (1) or more of the following: | fuel metering hoses and nozzles stage two vapour recovery flow control valves discharge control multiproduct dispensers |
| Corrosion protection systems and components include one (1) or more of the following: | cathodic protection, including: impressed current sacrificial anode wrapping coating |
| Fuels include one (1) or more of the following: | petrol ethanol blend fuels (of various concentrations) diesel and biodiesel liquefied petroleum gas (LPG) |
| Hazardous materials include one (1) or more of the following: | ‘solid’ pool chlorine (calcium hypochlorite) ‘liquid’ pool chlorine (sodium hypochlorite solutions) lubricants cleaning agents gas bottles workshop materials |
| Appropriate tools include: | tools that are: intrinsically safe ergonomically appropriate to the job safe and in good condition |
| Required isolations include one (1) or more of the following: | lock out/tag out double block and bleed use of blanks, blinds and goggles removal of spool piece removal of mechanical drives |
| Barriers include one (1) or more of the following: | temporary fencing bollards witches hats tapes signage |
| Problems include one (1) or more of the following: | variations to the work schedule variations to the work scope issues with the public or site personnel failure of equipment inappropriate/incomplete permit or work instructions |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM18098A Prepare to perform work associated with fuel system installation and servicing

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2