# Assessment Requirements for MEM18109 Troubleshoot instrumentation systems and equipment

Release: 2

Assessment Requirements for MEM18109 Troubleshoot instrumentation systems and equipment

# Modification History

Release 2. Prerequisite units updated

Release 1. New unit

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions and include:

following work instructions, SOPs and safe work practices

identifying and interpreting specifications, drawings, manufacturer manuals, history files and maintenance and repair records, and other applicable reference documents and obtaining relevant data with respect to troubleshooting instrumentation systems/equipment

isolating instrumentation system/equipment in accordance with procedures

checking and verifying the operational functions of the instrumentation system/equipment, including reading/recording and interpreting built-in fault indicators and error codes

conducting appropriate tests to establish fault condition using applicable test equipment using hardware and software techniques

repairing fault condition to meet specification requirements

isolating and removing faulty major component and selecting replacement item from appropriate sources

undertaking appropriate tests on instrumentation system/equipment in accordance with SOPs

verifying system to meet operational requirements

completing all documentation in accordance with SOPs.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of PPE

instrumentation principles controlling density, level, flow, temperature and composition of a range of materials

effects of resistance, capacitance, inductance and impedance (R, L, C) upon electrical circuit

interpretation requirements of schematic, wiring and block diagrams and circuits

principles of hydraulic, pneumatic and electrical flow

purpose/operational function of instrumentation system

equipment and techniques to be used to test instrumentation systems and equipment, including the use of specialised test equipment

procedures for running built-in test functions and recording identified faults

functional tests to be carried out under normal, extreme, overload and environmental conditions

specifications of each instrumentation system and acceptable deviations from specifications

correct operation of the instrumentation system, including the procedures for isolating instrumentation systems

range of faults in instrumentation system/equipment components

variations between test results and operational specifications

probable causes of faults in instrumentation system/equipment components and action to be taken to rectify the causes of faults

sequence of events to be undertaken to correct faults in the instrumentation system/equipment components

difference between real and potential faults

function and procedural checks on instrumentation systems/equipment.

# Assessment Conditions

Assessors must:

have vocational competency in troubleshooting instrumentation systems and equipment at least to the level being assessed with relevant industry knowledge and experience.

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 and comply with the National Vocational Education and Training Regulator Act 2011 or equivalent legislation covering VET regulation in a non-referring State as the case requires.

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturer specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2