# Assessment Requirements for MEM23116 Evaluate programmable logic controller and related control system component applications

Release: 1

Assessment Requirements for MEM23116 Evaluate programmable logic controller and related control system component applications

# Modification History

Release 1. Supersedes and is equivalent to MEM23116A Evaluate programmable logic controller and related control system component applications.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include:

identifying and assessing compliance with work health and safety (WHS) and regulatory requirements, and risk management procedures

reviewing dangers and effects of electricity on humans

identifying programmable logic controllers (PLC) related systems and components, integrating principles and techniques

assessing suitability of programming

investigating sustainability implications of PLC applications

assessing and applying basic electrical and electronic control principles, controller programming principles and techniques, software basic analysis and graphics skills and techniques on at least two occasions

evaluating components of applications against application specifications for safety, economy and fitness for purpose on at least two occasions

reporting and documenting results of evaluation, including layouts, programs and flow charts or state diagrams and files.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

features of PLC and related control system component applications used in engineering environments

effects of electricity on humans, dangerous high currents and voltages and automated systems, regulatory requirements related to extra low, low and high voltage applications

relevant compliance requirements of WHS, regulations, codes of practice, standards, and risk assessment requirements for integrated manufacturing systems with emphasis on automation safety

appropriate technical and professional assistance

PLC software and programming language

hardware functions, options and integration into plc and related control systems

input devices and sensors

output devices/actuators

PLCs

interfacing and signal conditioning

data and communications protocols and standards

communications and networking options for devices

HMIs and GUIs

PLC architecture

input/output (I/O) functions and arrangements

typical input signals and sensor and transducers

shielding and twisted pairing for noise mitigation

calibration techniques

reading of discrete levels from analog input data (other analog I/O functions not required by this unit)

input signal conditioning

digitally driven output devices and interface requirements power supply programming techniques and options.

# Assessment Conditions

Assessors must:

have vocational competency in evaluating programmable logic controller and related control system component applications at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2