# MEM23129 Evaluate thermal loads for heating, ventilation, air conditioning and refrigeration

Release: 1

MEM23129 Evaluate thermal loads for heating, ventilation, air conditioning and refrigeration

# Modification History

Release 1. Supersedes and is equivalent to MEM23129A Evaluate thermal loads for heating, ventilation, air conditioning and refrigeration.

# Application

This unit of competency defines the skills and knowledge required to evaluate thermal load estimates for heating, ventilation, air conditioning and refrigeration (HVACR) systems in multiple zone commercial/industrial buildings and engineering facilities, commercial refrigeration systems and related installations. It includes consideration of work health and safety (WHS) and related safety compliance requirements, and system evaluation, including the use of software and validation, thermodynamic concepts and laws.

It is suitable for people working as technicians, system designers, draftspersons, maintainers, and those pursuing careers and qualifications in engineering or related disciplines.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

MEM23004 Apply technical mathematics

MEM23006 Apply fluid and thermodynamics principles in engineering

# Competency Field

Engineering science

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Determine scope of evaluation of thermal loads and HVACR systems | 1.1 Establish type, location and scope of HVACR systems, building and refrigerated enclosures from plans, data sheets, specifications and site inspections 1.2 Identify stakeholders to be consulted during evaluation 1.3 Establish software and software techniques required for evaluation analysis 1.4 Determine WHS, regulatory and environmental requirements relevant to evaluation 1.5 Investigate sustainability implications of HVACR and building management systems |
| 2. Prepare for thermal loads and HVACR systems evaluation | 2.1 Review thermal load analysis techniques for multiple zone commercial or industrial buildings, including use of tabulations and computer software 2.2 Identify sources of heat gains for building 2.3 Review room sensible and latent heat, including peak values 2.4 Review thermal load analysis techniques for commercial refrigeration systems, including use of tabulations and computer software 2.5 Identify heat load sources for refrigerated enclosures or zones 2.6 Determine tools, equipment, testing devices and materials required for evaluation 2.7 Determine required measurements and measurement techniques 2.8 Calibrate, set up, and test measurement equipment and procedures 2.9 Identify appropriate analysis techniques, analysis and simulation software and software validation techniques |
| 3. Evaluate thermal loads and HVACR systems | 3.1 Evaluate thermal load for a commercial refrigeration system 3.2 Evaluate thermal load for a multiple zone commercial or industrial building 3.3 Evaluate the effects of internal and external parameter changes on refrigeration system performance 3.4 Evaluate thermal performance of a building and options for design improvements 3.5 Evaluate building to identify and mitigate high thermal loads 3.6 Evaluate performance of refrigeration and air conditioning system against specifications and determine optimum operational settings 3.7 Evaluate equipment size, including coil and air handling unit capacities for constant and variable volume systems, and central refrigeration and boiler capacities 3.8 Evaluate and validate software for refrigeration and building thermal performance analysis and system simulation |
| 4. Report results | 4.1 Record results of evaluation, including recommendations for design and system setting optimisation 4.2 Provide documentation that includes written and visual details of processes and results |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Sustainability includes: | meeting all regulatory requirements conforming to all industry covenants, protocols and best practice guides minimising ecological and environmental footprint of process, plant and product maximising economic benefit of process plant and product to the organisation and the community minimising the negative WHS impact on employees, community and customer. |
| Appropriate technical and professional assistance includes. | technical support and advice relating to elements which have intrinsic dangers professional support for technologies. |
| WHS, regulatory requirements and organisational procedures include: | WHS acts and regulations and relevant standards codes of practice from Australian and overseas engineering and technical associations and societies risk assessments registration requirements safe work practices state and territory regulatory requirements. |
| Building heat gains are affected by: | external, internal and system heat gains U values and infiltration rates for various wall and roof constructions sun, Azimuth and altitude angles, and overall shade factors for various windows. |
| Commercial refrigeration cabinets include: | defrost and heating systems temperature control air flows (refrigeration) air screens (refrigerated and ambient store) types of evaporation lighting. |
| Miscellaneous heat includes: | electrical load human load defrost load machinery load. |
| Relevant documentation includes: | thermal load audits calculations for heating and cooling loads building and refrigeration layouts heating and cooling system and component arrangements system improvement diagrams. |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM23129A Evaluate thermal loads for heating, ventilation, air conditioning and refrigeration.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2