# MEM23142 Determine psychrometric processes and system performance

Release: 1

MEM23142 Determine psychrometric processes and system performance

# Modification History

Release 1. Supersedes and is equivalent to MEM23142A Determine psychrometric processes and system performance.

# Application

This unit of competency defines the skills and knowledge required to identify psychrometric processes and determine system performance in a commercial building. It applies to those in organisations designing, manufacturing, installing, servicing or maintaining heating, ventilation, air conditioning and refrigeration (HVACR) equipment.

It is suitable for people working as supervisors, technicians and HVACR draftspersons, and for those pursuing manufacturing engineering or related technical qualifications and careers.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

MEM23004 Apply technical mathematics

MEM23006 Apply fluid and thermodynamics principles in engineering

# Competency Field

Engineering science

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Review psychrometric processes | 1.1 Obtain and implement work health and safety (WHS) and environmental requirements for the work area 1.2 Apply knowledge of psychrometric processes to analytical solutions to HVACR systems in accordance with organisational procedures 1.3 Diagnose air temperature and humidity problems using psychrometric charts 1.4 Consult appropriate personnel to ensure that work is coordinated effectively with others |
| 2. Analyse the psychrometric and system performance of HVACR systems | 2.1 Determine plant or system capacity and airflow requirements for effects of coil bypass factor, apparatus dew point (ADP) and partial load control 2.2 Calculate dehumidified air quantity using both target superheat (TSH) and effective room sensible heat (ERSH) methods 2.3 Establish plant capacity and air flow rates for the system and/or building 2.4 Establish airside systems and determine system performance 2.5 Determine systemic performance parameters 2.6 Consult on any contingencies and unexpected situations and take appropriate action based on specifications, codes and standards, and organisational procedures |
| 3. Document and report on psychrometric and HVACR system performance | 3.1 Evaluate solutions to psychrometric and system performance to determine their effectiveness 3.2 Report and document analysis in accordance with organisational procedures, incorporating details of all findings, calculations and assumptions 3.3 Prepare and justify recommendations for any required actions in relation to HVACR equipment |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| WHS requirements include: | legislation protective equipment material safety management systems hazardous substances and dangerous goods code local safe operation procedures awards provisions. |
| Environmental requirements include: | relevant legislation, regulations and codes correct handling and disposal of liquid and solid waste elimination or minimisation of gas, fume, vapour and smoke emissions, including fugitive emissions dust elimination, minimisation and control minimisation of energy and water use elimination or control of excessive noise use and recycling of refrigerants. |
| Appropriate personnel include: | supervisor, leading hand, foreman or manager engineer technician trainer or mentor team member customer. |
| Systemic performance parameters include: | coil characteristics spray processes. |
| Organisational procedures include: | use of tools and equipment instructions, including job sheets, plans, drawings and designs reporting and communication manufacturer specifications operational procedures industry standards. |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM23142A Determine psychrometric processes and system performance.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2

Assessment Requirements for MEM23142 Determine psychrometric processes and system performance

# Modification History

Release 1. Supersedes and is equivalent to MEM23142A Determine psychrometric processes and system performance.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include:

interpreting drawings and specifications

implementing work health and safety (WHS) procedures and practices including the use of risk control measures

determining psychrometric processes and system performance

plotting the psychrometric performance of a heating, ventilation and air conditioning and refrigeration (HVACR) coil on at least two occasions

determining the plant capacity and airflow rates for a building on at least two occasions

determining system performance

calculating the following:

psychrometric performance of the coil

psychrometric performance of HVACR spray equipment

required plant capacity and airflow rates

communicating technical and procedural requirements to others

dealing with unexpected situations.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

WHS considerations

appropriate personnel

systemic performance parameters

adiabatic and evaporative cooling

isothermal humidification

cooling and dehumidification with high latent load

cooling and dehumidification with all outdoor air

cooling and dehumidification with all outdoor air and with dehumidified air requirements less than supply air

cooling with evaporative humidification

spray processes including cooling and dehumidification, cooling and humidification with heated spray water, heating and humidification including:

partial load processes

reheat

bypass of return air and mix of return air and outside air including:

variable air volume

variable coil effective surface temperature

analysis of cooling coil selection and performance

psychrometric analyses, formulae and charts

indirect evaporative coolers

analysis of cooling coil selection and performance

systemic performance parameters

cooling tower characteristics

environmental considerations

# Assessment Conditions

Assessors must:

have vocational competency determining psychrometric processes and system performance at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2