# Assessment Requirements for MEM23144 Contribute to the design of a commercial refrigeration system

Release: 1

Assessment Requirements for MEM23144 Contribute to the design of a commercial refrigeration system

# Modification History

Release 1. Supersedes and is equivalent to MEM23144A Contribute to the design of a commercial refrigeration system.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include:

identifying and interpreting drawings, specifications, manufacturer data, tables, relevant standards and regulatory requirements appropriate to the design task

implementing work health and safety (WHS) procedures and practices including the use of risk control measures

designing a commercial refrigeration system including using relevant software tools

designing a commercial refrigeration system with one application related to food storage on at least two occasions

communicating technical and procedural requirements to others

dealing with unexpected situations

documenting technical information and designs in accordance with procedures.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

WHS requirements

organisational procedures

appropriate personnel to consult

standards and codes relevant to commercial refrigeration systems

calculation of capacity in heat exchangers

commercial refrigeration system features and components including:

applications

system requirements

operating conditions and criteria

refrigerants

refrigeration cycle

evaporators

condensers

compressors

liquid expansion devices

system load balance point

line sizing

automatic controls

commercial refrigeration and integration with an energy management system (EMS)

EMS control components and the function and operating parameters

EMS system design, applications, operation and maintenance

environmental considerations.

# Assessment Conditions

Assessors must:

have vocational competency in contributing to the design of a commercial refrigeration systems at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2