# MEM23144 Contribute to the design of a commercial refrigeration system

Release: 1

MEM23144 Contribute to the design of a commercial refrigeration system

# Modification History

Release 1. Supersedes and is equivalent to MEM23144A Contribute to the design of a commercial refrigeration system.

# Application

This unit of competency defines the skills and knowledge required to contribute to the design of commercial refrigeration systems or to undertake the complete design for less complex systems. It includes applying refrigeration and food storage technology, using standard manufactured components and piping, following design specifications, documenting system design and complying with safety and regulatory requirements.

The unit applies to technicians in organisations that design commercial refrigeration equipment and applies to team situations where the technician can be working with engineers and other technicians from heating, ventilation, air conditioning and refrigeration (HVACR) and other disciplines on large design projects as well as individual design work that is within the scope of the technician’s skill and knowledge.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

### MEM23004 Apply technical mathematics

MEM23006 Apply fluid and thermodynamics principles in engineering

MEM23129 Evaluate thermal loads for heating, ventilation, air conditioning and refrigeration

# Competency Field

Engineering science

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Determine optimum system design for application | 1.1 Obtain and implement work health and safety (WHS) and environmental requirements for the work area 1.2 Consult appropriate personnel to determine system specifications and obtain final confirmation in accordance with organisational procedures 1.3 Plan design development work to meet scheduled timelines in consultation with others involved on the worksite |
| 2. Design system | 2.1 Design system taking into account safety, regulatory requirements, relevant standards, system specifications and budgetary constraints 2.2 Determine selected equipment required for the systems and locations in accordance with the design specifications and organisational procedures 2.3 Check system design draft for compliance with the design brief, regulatory requirements and environmental standards 2.4 Document, validate and approve system design in accordance with organisational procedures 2.5 Consult as appropriate on any design adjustments required to meet contingencies and unexpected situations |
| 3. Validate system performance | 3.1 Establish operating criteria for expected ambient conditions 3.2 Determine and validate likely operating characteristics for refrigeration load against design specifications and standards 3.3 Adjust the functional design and remap operating characteristics to achieve optimal system performance 3.4 Program the control system to meet operational requirements 3.5 Document the designed system and its validation in accordance with organisational procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| WHS requirements include: | legislation protective equipment material safety management systems hazardous substances and dangerous goods code local safe operation procedures awards provisions. |
| Environmental requirements include: | relevant legislation, regulations and codes correct handling and disposal of liquid and solid waste elimination or minimisation of gas, fume, vapour and smoke emissions, including fugitive emissions dust elimination, minimisation and control minimisation of energy and water use elimination or control of excessive noise use and recycling of refrigerants. |
| Appropriate personnel include: | supervisor, leading hand, foreman or manager engineer technician trainer or mentor team member customer. |
| Industry standards include: | AS/NZS ISO 817 Refrigerants - Designation and safety classification AS/NZS 3666.1 Air-handling and water systems of buildings - Microbial control, Part 1: Design, installation and commissioning AS/NZS 3666.2 Air-handling and water systems of buildings - Microbial control, Part 2: Operation and maintenance AS/NZS 3666.3 Air-handling and water systems of buildings - Microbial control, Part 3: Performance-based maintenance of cooling water systems Ozone Protection regulations International Institute of Ammonia Refrigeration (IIAR) Ammonia Data Book American National Standards Institute (ANSI) and International Institute of Ammonia Refrigeration (IIAR) standards American Society of Heating, Refrigerating and Air Conditioning Engineers (ASHRAE) and Mechanical Refrigeration standards. |
| Organisational procedures include: | use of tools and equipment instructions, including job sheets, plans, drawings and designs reporting and communication manufacturer specifications operational procedures industry standards. |
| Design requirements of commercial refrigeration systems include: | selecting standard manufactured components and piping adhering to design specifications documenting system design complying with safety and regulatory requirements. |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM23144A Contribute to the design of a commercial refrigeration system.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2

Assessment Requirements for MEM23144 Contribute to the design of a commercial refrigeration system

# Modification History

Release 1. Supersedes and is equivalent to MEM23144A Contribute to the design of a commercial refrigeration system.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include:

identifying and interpreting drawings, specifications, manufacturer data, tables, relevant standards and regulatory requirements appropriate to the design task

implementing work health and safety (WHS) procedures and practices including the use of risk control measures

designing a commercial refrigeration system including using relevant software tools

designing a commercial refrigeration system with one application related to food storage on at least two occasions

communicating technical and procedural requirements to others

dealing with unexpected situations

documenting technical information and designs in accordance with procedures.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

WHS requirements

organisational procedures

appropriate personnel to consult

standards and codes relevant to commercial refrigeration systems

calculation of capacity in heat exchangers

commercial refrigeration system features and components including:

applications

system requirements

operating conditions and criteria

refrigerants

refrigeration cycle

evaporators

condensers

compressors

liquid expansion devices

system load balance point

line sizing

automatic controls

commercial refrigeration and integration with an energy management system (EMS)

EMS control components and the function and operating parameters

EMS system design, applications, operation and maintenance

environmental considerations.

# Assessment Conditions

Assessors must:

have vocational competency in contributing to the design of a commercial refrigeration systems at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2