# Assessment Requirements for MEM23145 Apply codes and regulations to air conditioning designs

Release: 1

Assessment Requirements for MEM23145 Apply codes and regulations to air conditioning designs

# Modification History

Release 1. Supersedes and is equivalent to MEM23145A Apply codes and regulations to air conditioning designs.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include:

identifying and interpreting information relevant to the design task including air conditioning and environmental standards, codes and regulations, specifications and client requirements

implementing work health and safety (WHS) procedures and practices including the use of risk control measures

applying air conditioning design using relevant software tools

applying codes and regulations to air conditioning system designs on at least two occasions through a compliance analysis that considers all applicable regulatory requirements

making appropriate recommendations on how non-compliant systems can be rectified on at least two occasions

communicating technical and procedural requirements to others

dealing with unexpected situations

documenting technical information and designs in accordance with procedures.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

WHS requirements

appropriate personnel to consult

relevant design criteria for typical large-scale air conditioning plant and multi-zone applications

air conditioning codes and requirements

air conditioning system selection criteria

zoning and building usage and relevance to regulatory compliance of large-scale air-conditioning systems

regulatory and environmental requirements which can impact on final design

organisational procedures

resource and equipment requirements

environmental requirements.

# Assessment Conditions

Assessors must:

have vocational competency in applying codes and regulations to air conditioning designs at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2