# Assessment Requirements for MEM23149 Contribute to the design of commercial and industrial exhaust systems

Release: 1

Assessment Requirements for MEM23149 Contribute to the design of commercial and industrial exhaust systems

# Modification History

Release 1. Supersedes and is equivalent to MEM23149A Contribute to the design of commercial and industrial exhaust systems.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include:

identifying and interpreting drawings and specifications and requirements appropriate to the design task

implementing work health and safety (WHS) procedures and practices including the use of risk control measures

demonstrate the use of software tools related to design commercial or industrial exhaust systems

determining performance aspects of the system, applying noise abatement measures and balancing fan duct systems on at least two occasions

preparing the design, drawings and specifications of commercial or industrial exhaust systems consistent with codes and regulations for two different systems

communicating technical and procedural requirements to others

dealing with unexpected situations

documenting technical information and designs in accordance with procedures.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

WHS requirements

appropriate personnel

organisational procedures

relevant codes and regulations

commercial and industrial exhaust system types

duct design

fluid dynamics including laminar and turbulent flow, friction and pressure loss

outlet design and location including consideration of:

environmental requirements

noise

access protection against pests

cycling and operation control

dust collection and control including:

filter types

cyclone and shaker type collectors

motor ratings

fan types

noise control

sound and flame proofing

environmental requirements

resource and equipment requirements.

# Assessment Conditions

Assessors must:

have vocational competency in contributing to the design of commercial and industrial exhaust systems at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2