# MEM23149 Contribute to the design of commercial and industrial exhaust systems

Release: 1

MEM23149 Contribute to the design of commercial and industrial exhaust systems

# Modification History

Release 1. Supersedes and is equivalent to MEM23149A Contribute to the design of commercial and industrial exhaust systems.

# Application

This unit of competency defines the skills and knowledge required to contribute to the design of commercial and industrial exhaust systems, including industrial dust extraction systems or to undertake the complete design for less complex systems. Commercial and industrial exhaust systems include those designed to manage dust, fumes, explosive gases or noxious gases.

The unit applies to technicians in organisations that design whole commercial and industrial exhaust systems or undertake design modifications to existing systems as part of manufacturing, installation, commissioning, servicing and maintenance activities.

It applies to design work undertaken as part of a design team comprising engineers and other technicians and to individual design tasks within the scope of the technician’s skill and knowledge.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

MEM23004 Apply technical mathematics

# Competency Field

Engineering science

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Determine commercial or industrial exhaust system requirement | 1.1 Obtain and implement work health and safety (WHS) and environmental requirements for the work area 1.2 Determine requirements for a commercial or industrial exhaust system using relevant standards, codes and authority information 1.3 Consult appropriate personnel to ensure that work is coordinated effectively with others 1.4 Obtain equipment and resources needed for the task in accordance with organisational procedures |
| 2. Design exhaust system | 2.1 Prepare design and drawings for commercial and industrial system scenarios in accordance with organisational procedures 2.2 Plan design development work to meet scheduled timelines 2.3 Provide solutions to unplanned situations consistent with organisational procedures |
| 3. Document design | 3.1 Validate specifications of exhaust system designed as meeting all relevant standards and codes for intended application 3.2 Verify final design using organisational procedures for compliance and regulatory requirements 3.3 Prepare final system design documents to industry standards for client approval |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| WHS requirements include: | legislation protective equipment material safety management systems hazardous substances and dangerous goods code local safe operation procedures awards provisions. |
| Environmental requirements include: | relevant legislation, regulations and codes correct handling and disposal of liquid and solid waste elimination or minimisation of gas, fume, vapour and smoke emissions, including fugitive emissions dust elimination, minimisation and control minimisation of energy and water use elimination or control of excessive noise use and recycling of refrigerants. |
| Appropriate personnel include: | supervisor, leading hand, foreman or manager engineer technician trainer or mentor team member customer. |
| Resources include: | relevant codes manufacturer specifications. |
| Organisational procedures include: | use of tools and equipment instructions, including job sheets, plans, drawings and designs reporting and communication manufacturer specifications operational procedures industry standards. |
| Equipment includes: | computer workstation and software, either stand alone or networked test apparatus appropriate tools of trade, equipment and materials. |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM23149A Contribute to the design of commercial and industrial exhaust systems.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2